New Visiting Instruments Technical Appraisal Form
	Instrument name
	

	Instrument group contact details
  Name, function, telephone and email
	

	ING astronomy contact
	

	ING engineering contact
	


Instrument details and operational requirements:

	Type of instrument


	

	Focal station, F-ratio

and focal distance
	

	Weight of instrument,

Weight distribution
	

	Space envelope details

Instrument and controllers
	

	General arrangement

Drawings supplied?
	

	Detailed mounting/interface

Drawing supplied?
	

	Power requirements

Watts, 115V?, kind of plugs, how many
	

	Services

Liquid cooling, LN2, LHe, Helium closed cycle cooling, compressed air
	

	Software requirements

Instrument, telescope control, autoguiding
	

	Computing requirements
IPs, communications, data storage media
	

	Electronic requirements

Power supplies, cables
	

	Detector requirements

Are ING detectors used?
	

	Optics requirements

Filters
	

	Instrument alignment

Procedure
	

	Handling equipment
Lifting, tools
	

	
	

	
	


