MODIFICATIONS TO SDSU CONTROLLER 

FOR TEK1024 and SITE 2048 CCDs

Clock Board

Five 2.2nF capacitors are mounted 

on DIL headers in sockets 

D3 and D4 as shown below 

Four 47nF capacitors are mounted 

On DIL headers in D5 and D6.

The serial clock edges are slowed to 

200ns by this measure, and the parallel clocks

to 5us.

Video Board

20K metal film resistors are mounted on terminal posts at R1 and R51 near the board inputs. These are the CCD load resistors. 

D6





D5





D3





D4








