C:\naomi\READMEfirst.doc

##########################################################

#     setup and test procedure  for NAOMI software release naomi-0.2   #

#     at     WHT La Palma                                                                          #

##############      X.Gao 10~ 19 /08/20000 ####################

to set ENV for Naomi on navis

source /software/naomi/naomi-0.2/config/setup.csh

to  startup QI 

 
source /software/naomi_atc_src/naomiView/naomiView_login

  
naomiQI_xg

to use iraf

· source /opt/iraf/bin/irafuser.csh

· mkdir iraf

· cd iraf

· mkiraf   ( terminal:xterm)

· ximtool &

· xgterm &

· [in the xgterm] cl 

to start a readout after login navis ( refer to WFS_READOUT_CONTROL_V3.doc for change parameter)
1).  Start QI first ( see above or source naomiset_xg, it is the same )


this will bring you up the SAOtng and QI_sever.

2). open another xterm

rlogin naomisdsu

 this gets you into the Vxwork shell

3). To start full frame ccd readout as default, using Vxwork, QI_server, SAOtng display

########################################################################################################################

· !! if you want to change Vxwork  from startup without epics to startup with epics, reboot the Vxwork first ( type reboot in VxWork Shell), then  begin the following procedure.  If you quit the SAOtng, before restart  QI as in 1). kill QI_server first by use ps –ef | grep xg, which will display something like:

xg 23235     1  0 12:30:30 pts/2    0:11 /software/naomi_atc_src/naomiView/bin/QI_server naomiView 59999

· type kill 23235 , then 1).  

· If  there is something wrong, and you want to restart, always follow: reboot Vxwork, press reset button of VME I/F board, switch off/on the SDSU controller power supplier. Quit SAOtng, use ps –ef | grep xg, kill Qi_server, the start from 1).

####################################################################################################################### 

 to start a readout without epics

       <startup_cam_no_epics

       <readout_cam1  or  <close1 to stop readout 

       <readout_cam2 or  <close2 to stop readout

· cam1 refer to Master, can2 refer to Slave.  During the unsynchronised readout mode, you have to stop cam1 before  to start cam2, vice verca, 

· once readout is running,  you should be able to see  the image displayed on SAOtng. if any thing wrong, try to reboot VME and press reset of VME I/F board. then do from 2).

to start a readout with epics

       <startup_cam

       <readout_epics_cam1  or  <close1_epics to stop readout 

        <readout_epics_cam2 or  <close2_epics to stop readout

· cam1 refer to Master, can2 refer to Slave.  During the unsynchronised readout mode, you have to stop cam1 before  to start cam2, vice verca, 

use C40, starting with or without epics is the same as above, then use, (see relevant docs. for how to use C40)

       <readoutC40_cam1
or <close1C40 ;

<readoutC40_cam2 

or <close2C40

      <readoutC40_epics_cam1
or <close1C40_epics; 

<readoutC40_epics_cam2
or <close2C40_epics

4). To start another applications looks similar just changing the scripts accordingly, ie. If you want to use ap_2 for timing board, sending data

     back to Vxwork, then, just change

sdsuMemory ("cam1", 2, "FDL", "../timing/ap_2/master_appl_download.lod")


sdsuCommand ("cam1",2,"LDP",0,0)

sdsuCommand ("cam1",2,"SYC",0,0)

    or

sdsuCommand ("cam1",2,"LDA",2,0)

sdsuCommand ("cam1",2,"SYC",0,0)

in the readout_cam1.m4 script or save as new script, then  gmake install  (see following  to make change and recompile CCD readout  scripts).

5). For synchronized read out, see example


<synch_both or <synch_apl6

6). to start a vmedummy-star without epics

      <startup_cam_no_epics 

     <VMEdummy_star

7). to start a vmedummy-star with epics

      <startup_cam

      <VMEdummy_star_epics


8). To change parameters, like exposure time, speed. etc, see Derek’s ICD: WFS_READOUT_CONTROL_V3.doc
Make sure that you are using the right script, load right code

to make change and recompile Vxwork startup scripts

· you have to login aocontrol1.ing.iac.es!!!

source /software/naomi/naomi-0.2/config/setup.csh

cd /software/naomi/naomi-0.2/naomiCam/startup/

   make change to any *.vws file, if not re-writable, make your own file,  then only use

   
gmake

 which will display message like:

mv167: install

gmake[2]: Entering directory `/usr/software/naomi/naomi-0.2/naomiCam/startup/O.mv167'

Generating VxWorks startup_cam_epics_xg script

Installing /usr/software/naomi/naomi-0.2/naomiCam/./bin/mv167/startup_cam_epics_xg

gmake[2]: Leaving directory `/usr/software/naomi/naomi-0.2/naomiCam/startup/O.mv167'

gmake[1]: Leaving directory `/usr/software/naomi/naomi-0.2/naomiCam/startup'

to make change and recompile CCD readout  scripts

source /software/naomi/naomi-0.2/config/setup.csh

cd /software/naomi/naomi-0.2/naomiCam/dspsrc/scripts

 make change to any *.m4 file, if not re-writable, make your own file,  then only use

   
gmake

 which will display message like:

m4 /software/naomi/naomi-0.2/config/naomi.m4scr VMEC40test.m4 > /usr/software/naomi/naomi-0.2/naomiCam/bin/asm56000/scripts/VMEC40test

m4 /software/naomi/naomi-0.2/config/naomi.m4scr VMEcam1Rd.m4 > /usr/software/naomi/naomi-0.2/naomiCam/bin/asm56000/scripts/VMEcam1Rd

to recompile DSP code

source /software/naomi/naomi-0.2/config/setup.csh

cd /software/naomi/naomi-0.2/naomiCam/vme/ap_*,  

 where you want to change, after modification, type 

make install 

 which will print message like:

.applTop/../asm56000/asm56000 -b -d PRG NORM -l vmeboot.lst -i ../ap_boot ../ap_boot/vmeboot.asm

.applTop/../asm56000/asm56000 -b -d PRG NORM     -d TEST HEAD -d READ MANUAL -l vme_appl.lst -i ../ap_boot vme_appl.asm

.applTop/../asm56000/dsplnk -b vme_appl.cld -v vme_appl.cln vmeboot.cln

dsplnk: Beginning pass 1

dsplnk: Opening link file vme_appl.cln

dsplnk: Closing link file vme_appl.cln

dsplnk: Opening link file vmeboot.cln

dsplnk: Closing link file vmeboot.cln

dsplnk: Beginning section and symbol relocation

dsplnk: Beginning pass 2

dsplnk: Opening link file vme_appl.cln

dsplnk: Closing link file vme_appl.cln

dsplnk: Opening link file vmeboot.cln

dsplnk: Closing link file vmeboot.cln

.applTop/../asm56000/srec -bs vme_appl.cld

.applTop/../asm56000/asm56000 -b -d PRG DOWNLOAD -d TEST HEAD -d READ MANUAL -l vme_appl.lst -i ../ap_boot vme_appl.asm

.applTop/../asm56000/dsplnk -b vme_appl.cld -v vme_appl.cln vmeboot.cln

dsplnk: Beginning pass 1

dsplnk: Opening link file vme_appl.cln

dsplnk: Closing link file vme_appl.cln

dsplnk: Opening link file vmeboot.cln

dsplnk: Closing link file vmeboot.cln

dsplnk: Beginning section and symbol relocation

dsplnk: Beginning pass 2

dsplnk: Opening link file vme_appl.cln

dsplnk: Closing link file vme_appl.cln

dsplnk: Opening link file vmeboot.cln

dsplnk: Closing link file vmeboot.cln

.applTop/../asm56000/cldlod vme_appl.cld >/usr/software/naomi/naomi-0.2/naomiCam/bin/asm56000/vme/ap_4/vme_appl.lod

DSP Software ( there are README file in .../dspsrc/timing and .../dspsrc/vme subdirectory )

Timing board DSP software is listed is in WFS_READOUT_CONTROL_V3.doc

can be found in aocontrol1 under

/software/naomi/naomi-0.2/naomiCam/dspsrc/timing

VME I/F board DSP software 

can be found in aocontrol1 under

/software/naomi/naomi-0.2/naomiCam/dspsrc/vme

ap_1:

VME DSP code for receiving data from Timing board and sending to Vxwork vi VMEBus



script file, see example (in /software/naomi/naomi-0.2/naomiCam/dspsrcscripts) VMEcam1Rd, VMEcam2Rd



VMEcam1_dummy,VMEcam1_mode7,etc.

ap_2:

VME DSP code for receiving data from Timing board and sending to C40



script file, see example (in /software/naomi/naomi-0.2/naomiCam/dspsrcscripts) readoutC40_cam1, 



reaoutC40_cam2, readoutC40_epics_cam1, etc

ap_3:

VME DSP code for self test, no Timing board required.  it sends header and data to Vxwork vi



VMEBus and at the same time to C40 (remember to disconnect jump on SDSU_RS422 RMT_RST/FIFORD. 

User specifies all data and header information. 



script file, see example (in /software/naomi/naomi-0.2/naomiCam/dspsrcscripts)  VMEC40test.

ap_4:

VME DSP code for sending simulated spot image  to Vxwork and  C40 ( do not connect  RMT_RST to FIFORD, 



so the data can be sent to C40?  has not yet been tested for C40)



script file, see example (in /software/naomi/naomi-0.2/naomiCam/dspsrcscripts) VMEdummy_star

ap_boot:

VME DSP boot code for all applications

ap_56k: 

VME DSP code for using EVM56k to program the EEPROM chip 29c256

X.Gao
Page 3
08/18/00

