[image: image5.wmf]TRNSVR

WHT SubNet

WHT SubNet

Ethernet

Ethernet

SCSI II WIDE

TUCANA

9 GB Drives

DAT Drv

LPSS9

Hub

IRLabs

SDSU Controller

WHT Control Room Patch

WHT Cass TT Patch

PL9

PL10

SK9

SK10

240v

SDSU

PSU

INGRID POWER

AMPLIFIERS

INGRID

VME CRATE

240v

240v IN

SK19

240v OUT

SK20

Monitor

VxWorks Comm

SK16

SK18

PL17

SK14

PL13

PL15

PL16

PL18

SK17

SK15

SK13

PL14

PL11

SK12

SK6

SK7

INGRID CRYOSTAT

PRE -

AMP

PL5

PL1

SK1

PL2

PL3

PL4

PL6

PL8

SK5

SK3

SK2

SK11

PL12

SK4

CLOSED

CYCLE

COOLER

PL21

HELIUM

COMPRESSOR

SK23

PL23

SK22

SK21

PL22

INGRID SYSTEM CABLING

CASS FOCUS

PL7

(In Ghrill Room)

FO1

FO2

FO1

FO2

FO1

FO2

FO1

FO2

PRESSURE

SENSOR

PL24

SK24

SK8

MOTOR CONTROL

DRIVE STATUS

POWER CONTROL

GND

POINT

GND

POINT

GND

POINT


INGRID DETECTOR SIGNALS

PL1
CRYOSTAT – PREAMP
SK1

Amphenol

20-41 Male
SIGNAL NAME
Amphenol

20-41 Female





A

A

B

B

C

C

D

D

E

E

F

F

G

G

H
DGND
H

J
DGND
J

K
VDD POWER
K

L
HIGH4
L

M
OUT4+
M

N
OUT3+
N

P
OUT2+
P

R
OUT1-
R

S
OUT1+
S

T
HIGH3
T

U
BIASGATE
U

V

V

W

W

X

X

Y

Y

Z

Z

a

a

b

b

c

c

d
AGND
d

e
OUT4-
e

f
OUT3-
f

g
OUT2-
g

h
HIGH2
h

i

i

j
BIASPOWER
j

k

k

m

m

n

n

p

p

q
VRESET
q

r
HIGH1
r

s

s

t

t





1. NOTES:-

2. CONNECTIONS BETWEEN CRYOSTAT CONNECTOR AND PREAMP MODULE. FOR REFERENCE ONLY. PREAMP MOUNTS DIRECTLY TO CRYOSTAT.

INGRID DETECTOR CLOCK CABLE

PL7
CABLE LENGTH 60 CENTIMETERS
SK2

Amphenol 16-26 Male
SIGNAL NAME
CABLE TYPE
Amphenol 

16-26 Female






A
VDD
18 AWG PTFE
A

b
DGND
18AWG PTFE
b

b
VDD SHIELD

n/c






R
PIXEL1
26 AWG PTFE
R

M
LSYNC1
26 AWG PTFE
M

E
FSYNC1
26 AWG PTFE
E

G
READ1
26 AWG PTFE
G

K
RESET1
26 AWG PTFE
K

C
LINE1
26 AWG PTFE
C

b
CLOCK SHIELD1

n/c






P
PIXEL2
26 AWG PTFE
P

L
LSYNC2
26 AWG PTFE
L

D
FSYNC2
26 AWG PTFE
D

F
READ2
26 AWG PTFE
F

J
RESET2
26 AWG PTFE
J

B
LINE2
26 AWG PTFE
B

b
CLOCK SHIELD2

n/c






S
PIXEL3
26 AWG PTFE
S

N
LSYNC3
26 AWG PTFE
N

V
FSYNC3
26 AWG PTFE
V

H
READ3
26 AWG PTFE
H

X
RESET3
26 AWG PTFE
X

T
LINE3
26 AWG PTFE
T

b
CLOCK SHIELD3

n/c






a
PIXEL4
26 AWG PTFE
a

Z
LSYNC4
26 AWG PTFE
Z

c
FSYNC4
26 AWG PTFE
c

W
READ4
26 AWG PTFE
W

Y
RESET4
26 AWG PTFE
Y

U
LINE4
26 AWG PTFE
U

b
CLOCK SHIELD4

n/c

NOTES:-

3. SHIELD EACH GRAY SHADED SET AND CONNECT SHIELDS TO PL7 END ONLY. 

4. SLEEVE COMPLETE CABLE ASSY AND STRAIN RELIEVE AT EACH END. 

5. TOTAL CABLE LENGTH IS 60 CENTIMETERS.

6. MARK PLUGS AND SOCKETS AS AS INDICATED IN LIST. 

7. MARK CABLE AS “INGRID DETECTOR CLOCK CABLE”.

INGRID TEMPERATURE CABLE

SK8
LENGTH 60 CENTIMETERS
SK3

Amphenol

16-26 Female
SIGNAL NAME
CABLE TYPE
Amphenol

16-26 Female






A
DETECTOR TEMP +
22 AWG PTFE
A

B
DETECTOR TEMP -
22 AWG PTFE
B

C
CAMERA TEMP +
22 AWG PTFE
C

D
CAMERA TEMP -
22 AWG PTFE
D

E
COLD SHIELD TEMP +
22 AWG PTFE
E

F
COLD SHIELD TEMP -
22 AWG PTFE
F

G
FANOUT TEMP +
22 AWG PTFE
G

H
FANOUT TEMP -
22 AWG PTFE
H

b
TEMPERATURE SHIELD

b

J


J

K


K

L


L

M


M

N
DETECTOR HEATER +
22 AWG PTFE
N

P
DETECTOR HEATER -
22 AWG PTFE
P

R
COLD CYCLE COOLER TEMP +
22 AWG PTFE
R

S
COLD CYCLE COOLER TEMP -
22 AWG PTFE
S

T
GETTER HEATER +
22 AWG PTFE
T

U
GETTER HEATER -
22 AWG PTFE
U






V
PREFLASH LED +
22 AWG PTFE
V

W
PREFLASH LED -
22 AWG PTFE
W

N/C
LIGHT BULB +

X

N/C
LIGHT BULB -

Y




Z

a
SPARE
22 AWG PTFE
a

c
CRYOSTAT GROUND
18 AWG PTFE
c




SK24




Herschman GO.6.WF

X
PRESSURE SENSE +
22 AWG PTFE
2

Y
PRESSURE SENSE - 
22 AWG PTFE
3

Z
PRESSURE POWER +
22 AWG PTFE
4

Y
PRESSURE POWER -
22 AWG PTFE
5

b
PRESSURE SHIELD

6

NOTES:-

8. SHIELD EACH GRAY SHADED SET. 

9. SLEEVE COMPLETE CABLE ASSY AND STRAIN RELIEVE AT EACH END. 

10. PL8 – SK3 CABLE LENGTH IS 60 CENTIMETERS.

11. PL8 -> SK24 CABLE LENGTH IS 60 CENTIMETERS. SPLIT CABLES AT PL8

12. MARK PLUGS AND SOCKETS AS AS INDICATED IN LIST. 

13. MARK CABLE AS “INGRID TEMPERATURE CABLE”.

INGRID MOTOR DRIVE CABLE

PL12
LENGTH 3 METERS
SK4

Amphenol

16-26 Male
SIGNAL NAME
CABLE TYPE
Amphenol

20-41Female






A
PUPIL STOP A+
18 AWG PTFE
A

B
PUPIL STOP A-
18 AWG PTFE
B

C
PUPIL STOP B+
18 AWG PTFE
C

D
PUPIL STOP B-
18 AWG PTFE
D

b
MOTOR DRIVE SHIELD

N/C






E
PUPIL IMAGER A+
18 AWG PTFE
E

F
PUPIL IMAGER A-
18 AWG PTFE
F

G
PUPIL IMAGER B+
18 AWG PTFE
G

H
PUPIL IMAGER B-
18 AWG PTFE
H

b
MOTOR DRIVE SHIELD

N/C






J
FOCUS DRIVE A+
18 AWG PTFE
J

K
FOCUS DRIVE A-
18 AWG PTFE
K

L
FOCUS DRIVE B+
18 AWG PTFE
L

M
FOCUS DRIVE B-
18 AWG PTFE
M

b
MOTOR DRIVE SHIELD

N/C






N
FILTER WHEEL 1 A+
18 AWG PTFE
N

P
FILTER WHEEL 1 A-
18 AWG PTFE
P

R
FILTER WHEEL 1 B+
18 AWG PTFE
R

S
FILTER WHEEL 1 B-
18 AWG PTFE
S

b
MOTOR DRIVE SHIELD

N/C






T
FILTER WHEEL 2 A+
18 AWG PTFE
T

U
FILTER WHEEL 2 A-
18 AWG PTFE
U

V
FILTER WHEEL 2 B+
18 AWG PTFE
V

W
FILTER WHEEL 2 B-
18 AWG PTFE
W

b
MOTOR DRIVE SHIELD

N/C






X




Y




Z




a




c




SK11




Amphenol

16-26 Female




A
PUPIL STOP LIMIT+
22 AWG PTFE
X

B
PUPIL STOP LIMIT -
22 AWG PTFE
Y

C
PUPIL STOP DATUM
22 AWG PTFE
Z

D
PUPIL STOP RETURN
22 AWG PTFE
a

b
SENSOR SHIELD WIRES

N/C






E
PUPIL IMAGER LIMIT+
22 AWG PTFE
b

F
PUPIL IMAGER LIMIT -
22 AWG PTFE
c

G
PUPIL IMAGER DATUM
22 AWG PTFE
d

H
PUPIL IMAGER RETURN
22 AWG PTFE
e

b
SENSOR SHIELD WIRES

N/C






J
FOCUS DRIVE LIMIT+
22 AWG PTFE
f

K
FOCUS DRIVE LIMIT -
22 AWG PTFE
g

L
FOCUS DRIVE DATUM
22 AWG PTFE
h

M
FOCUS DRIVE RETURN
22 AWG PTFE
i

b
SENSOR SHIELD WIRES

N/C






N
FILTER WHEEL LIMIT+
22 AWG PTFE
j

P
FILTER WHEEL LIMIT -
22 AWG PTFE
k

R
FILTER WHEEL DATUM
22 AWG PTFE
m

S
FILTER WHEEL RETURN
22 AWG PTFE
n

b
SENSOR SHIELD WIRES

N/C






T
FILTER WHEEL LIMIT+
22 AWG PTFE
p

U
FILTER WHEEL LIMIT -
22 AWG PTFE
q

V
FILTER WHEEL DATUM
22 AWG PTFE
r

W
FILTER WHEEL RETURN
22 AWG PTFE
s

b
SENSOR SHIELD WIRES

N/C




t

X




Y




Z




a




c




NOTES:-

14. SHIELD EACH GRAY SHADED SET AND CONNECT SHIELDS TO SK11 & PL12 ONLY. 

15. SLEEVE COMPLETE CABLE ASSY AND STRAIN RELIEVE AT EACH END. 

16. TOTAL CABLE LENGTH IS 3 METERS.

17. JUNCTION OF SK11 AND PL12 CABLE SEGMENTS SHOULD BE AT 30 CENTIMETERS. RE-ENFORCE JUNCTION WITH STRONG HEAT SHRINK ‘Y’ JOINT.  

18. MARK PLUG AND SOCKETS AS AS INDICATED IN LIST. 

19. MARK CABLE AS “INGRID MOTOR DRIVE CABLE”.

INGRID PREAMP CABLE

PL6
CABLE LENGTH 60 CENTIMETERS
SK5

DB50M 
SIGNAL NAME
CABLE TYPE
DB50F






1
+ 15 VOLT SUPPLY
18 AWG PTFE
1

34
- 15 VOLT SUPPLY
18 AWG PTFE
34

25
15 VOLT SUPPLY SHIELD

N/C






35
ANALOG GROUND
18 AWG PTFE
35

41
VRESET
22 AWG PTFE
41

39
HIGH4
22 AWG PTFE
39

23
HIGH3
22 AWG PTFE
23

7
HIGH2
22 AWG PTFE
7

24
HIGH1
22 AWG PTFE
24

18
OFFSET 1
22 AWG PTFE
18

36
OFFSET2
22 AWG PTFE
36

37
OFFSET3
22 AWG PTFE
37

38
OFFSET4
22 AWG PTFE
38

50
BIAS GATE
22 AWG PTFE
50

17
BIAS POWER
22 AWG PTFE
17

8
VDD POWER
22 AWG PTFE
8

25
BIAS SHIELD

N/C






2
OUT1
50 OHM MIN COAX
2

19
OUT1 SHIELD
COAX SHIELD
19

3
OUT2
50 OHM MIN COAX
3

20
OUT2 SHIELD
COAX SHIELD
20

4
OUT3
50 OHM MIN COAX
4

21
OUT3 SHIELD
COAX SHIELD
21

5
OUT4
50 OHM MIN COAX
5

22
OUT4 SHIELD
COAX SHIELD
22

N/C
OUTPUTS OVERALL SHIELD

25

NOTES:-

20. SHIELD EACH GRAY SHADED SET AND CONNECT SHIELDS TO PL6 ONLY.

21. CONNECT TP39 TO TP40 IN PREAMP. 

22. SLEEVE COMPLETE CABLE ASSY AND STRAIN RELIEVE AT EACH END. 

23. TOTAL CABLE LENGTH IS 60 CENTIMETERS.

24. MARK PLUG AND SOCKETS AS AS INDICATED IN LIST. 

25. MARK CABLE AS “INGRID PREAMP CABLE”.

INGRID DRIVE STATUS CABLE

PL14
CABLE LENGTH 80 CENTIMETERS
SK17

DB50M 
SIGNAL NAME
CABLE TYPE
DB50F






1
PUPIL STOP AMP FAULT
6 CORE + SHIELD 24 AWG 
1

2
FILTER 1 AMP FAULT
PVC CABLE
2

3


3

4


4

5


5

6


6

7


7

8


8

9


9

0


0

11


11

12


12

13


13

14


14

15


15

16


16

17
GROUND RETURN

17

18
FOCUS AMP DRIVE FAULT

18

19


19

20


20

21
GROUND RETURN

21

22


22

23


23

24


24

25
GROUND RETURN

25

26


26

27


27

28


28

29
GROUND RETURN

29

30


30

31


31

32


32

33
GROUND RETURN

33

34
PUPIL IMAGER AMP FAULT

34

35
FILTER 2 AMP FAULT

35

36


36

37
GROUND RETURN

37

38


38

39


39

40


40

41
GROUND RETURN

41

42


42

43


43

44


44

45
GROUND RETURN

45

46


46

47


47

48


48

49
GROUND RETURN

49

50
GROUND RETURN

50

NOTES:-

26. TOTAL CABLE LENGTH IS 80 CENTIMETERS.

27. FIT LOCKABLE JACK SCREW CONNECTOR SHELLS EACH END.

28. MARK PLUG AND SOCKETS AS AS INDICATED IN LIST. 

MARK CABLE AS “INGRID DRIVE STATUS CABLE”.

INGRID POWER CONTROL CABLE

PL16
CABLE LENGTH 80 CENTIMETERS
SK15

DB50M 
SIGNAL NAME
CABLE TYPE
DB50F






1
DIGIAMP POWER CONTROL
6 CORE + SHIELD 24 AWG
1

2

PVC CABLE
2

3


3

4


4

5


5

6


6

7


7

8


8

9


9

0


0

11


11

12


12

13


13

14


14

15


15

16


16

17
GROUND RETURN

17

18


18

19


19

20


20

21
GROUND RETURN

21

22


22

23


23

24


24

25
GROUND RETURN

25

26


26

27


27

28


28

29
GROUND RETURN

29

30


30

31


31

32


32

33
GROUND RETURN

33

34


34

35


35

36


36

37
GROUND RETURN (POWER CONTROL RETURN)

37

38


38

39


39

40


40

41
GROUND RETURN

41

42


42

43


43

44


44

45
GROUND RETURN

45

46


46

47


47

48


48

49
GROUND RETURN

49

50
GROUND RETURN

50

NOTES:-

29. TOTAL CABLE LENGTH IS 80 CENTIMETERS.

30. FIT LOCKABLE JACK SCREW CONNECTOR SHELLS EACH END.

31. MARK PLUG AND SOCKETS AS AS INDICATED IN LIST. 

MARK CABLE AS “INGRID POWER CONTROL CABLE”.

INGRID MOTOR CONTROL CABLE

PL18
CABLE LENGTH 80 CENTIMETERS
SK13

DB37M 
SIGNAL NAME
CABLE TYPE
DB37F






1
PUPIL STOP STEP
37 WAY 7/0.2
1

2
PUPIL STOP DIRECTION
FLAT RIBBON 
2

3
PUPIL STOP ENERGISE
CABLE
3

4
PUPIL STOP LIMIT +

4

5
PUPIL STOP LIMIT -

5

6
PUPIL STOP DATUM

6






7
PUPIL IMAGER STEP

7

8
PUPIL IMAGER DIRECTION

8

9
PUPIL IMAGER ENERGISE

9

0
PUPIL IMAGER LIMIT +

0

11
PUPIL IMAGER LIMIT -

11

12
PUPIL IMAGER DATUM

12






13
FOCUS STEP

13

14
FOCUS DIRECTION

14

15
FOCUS ENERGISE

15

16
FOCUS LIMIT +

16

17
FOCUS LIMIT -

17

18
FOCUS DATUM

18






19
FILTER WHEEL 1 STEP

19

20
FILTER WHEEL 1 DIRECTION

20

21
FILTER WHEEL 1 ENERGISE

21

22
FILTER WHEEL 1 LIMIT +

22

23
FILTER WHEEL 1 LIMIT -

23

24
FILTER WHEEL 1 DATUM

24






25
FILTER WHEEL 2 STEP

25

26
FILTER WHEEL 2 DIRECTION

26

27
FILTER WHEEL 2 ENERGISE

27

28
FILTER WHEEL 2 LIMIT +

28

29
FILTER WHEEL 2 LIMIT -

29

30
FILTER WHEEL 2 DATUM

30






31
GROUND

31

32
PUPIL STOP GND RETURN

32

33
PUPIL IMAGER GND RETURN

33

34
FOCUS GND RETURN

34

35
FILTER WHEEL 1 GND RTN

35

36
FILTER WHEEL 2 GND RTN

36

37


37

NOTES:-

32. TOTAL CABLE LENGTH IS 80 CENTIMETERS.

33. FIT LOCKABLE JACK SCREW CONNECTOR SHELLS EACH END.

34. MARK PLUG AND SOCKETS AS AS INDICATED IN LIST. 

MARK CABLE AS “INGRID MOTOR CONTROL CABLE”.

INGRID SDSU POWER CABLE

PL9
CABLE LENGTH 3 METERS
PL10


SIGNAL NAME
CABLE TYPE
Amphenol 109-13M






1
VCC
16 AWG TEFLON
A

2
+ VLIN
18 AWG TEFLON
B

3
+ VHIN
18 AWG TEFLON
C

4
-VLIN
18 AWG TEFLON
D

5
RESET
20 AWG TEFLON
E




F

6
GROUND
16 AWG TEFLON
G







[image: image1.wmf]DETECTOR

FANOUT

BOARD

PUPIL

STOP

MOTOR

PUPIL

IMAGER

MOTOR

FOCUS

MOTOR

FILTER

1

MOTOR

FILTER

2

MOTOR

COLD SHIELD CONNECTOR BRACKET

PL101

PL102

PL105

SK102

SK101

PL106

J 1

J 2

PL107

J 3

PL108

SK103

CRYOSTAT CONNECTOR PLATE

CASTING

TEMP

SHIELD

TEMP

DETECTOR

HEATING

RESISTOR

R

3

GETTER

HEATING

RESISTOR

R

2

CASTING TEMP -

CASTING TEMP +

SHIELD TEMP -

DETECTOR HEATER +

DETECTOR HEATER -

COLD CYCLE COOLER TEMP +

COLD CYCLE COOLER TEMP -

GETTER HEATER -

GETTER HEATER +

DATUM

LIMIT +

LIMIT -

DATUM

LIMIT +

LIMIT -

DATUM

LIMIT +

DATUM

DATUM

LIMIT -

PUPIL STOP A+

PUPIL STOP A-

PUPIL STOP B+

PUPIL STOP B-

PUPIL IMAGER A+

PUPIL IMAGER A-

PUPIL IMAGER B+

PUPIL IMAGER B-

FOCUS A+

FOCUS B-

FOCUS A-

FOCUS B+

FILTER WHEEL 1 A+

FILTER WHEEL 1 A-

FILTER WHEEL 1 B+

FILTER WHEEL 1 B-

FILTER WHEEL 2 A+

FILTER WHEEL 2 A-

FILTER WHEEL 2 B+

FILTER WHEEL 2 B-

FILTER WHEEL 2

FILTER WHEEL 1

FOCUS DRIVE

PUPIL IMAGER

PUPIL STOP

INGRID CRYOSTAT INTERNAL WIRING

CRYOSTAT GROUND

PL1

PL2

PL4

PL3

SK105

DETECTOR

TEMP

DETECTOR TEMP -

DETECTOR TEMP +

PL103

PL104

SK104

M1

M2

M3

M4

M5

1

2

3

4

1

2

3

4

1

2

3

4

1

2

3

4

1

2

3

4

D2

D3

D1

SW

3

SW

1

SW

2

SW

6

SW

4

SW

5

SW

9

SW

7

SW

8

SW10

SW11

PL /

SK109

PL /

SK109

PL / SK109

CCC TEMP

D4

(SW6 NOT FITTED)

(SW7 NOT FITTED)

(SW1 NOT FITTED)

(SW2 NOT FITTED)

SHIELD TEMP +

R

1


INGRID CRYOSTAT DETECTOR WIRING

PL1

PL101

Amphenol

20-41 Male
SIGNAL NAME
CABLE TYPE
Cinch Micro 

D25M






S
OUT1+
50 ohm Min Coax
1

R
OUT1-
50 ohm Min Coax
2

N/C
OUT1 SHIELD
Min Coax Shields
3






P
OUT2+
50 ohm Min Coax
4

g
OUT2-
50 ohm Min Coax
5

N/C
OUT2 SHIELD
Min Coax Shields
6






N
OUT3+
50 ohm Min Coax
7

f
OUT3-
50 ohm Min Coax
8

N/C
OUT3 SHIELD
Min Coax Shields
9






M
OUT4+
50 ohm Min Coax
10

e
OUT4-
50 ohm Min Coax
11

N/C
OUT 4 SHIELD
Min Coax Shields
12






d
AGND
22 AWG PTFE
13

N/C
BIAS SHIELD

14

K
VDD POWER
MANGANIN
15

r
HIGH1
MANGANIN
16

h
HIGH2
MANGANIN
17

T
HIGH3
MANGANIN
18

L
HIGH4
MANGANIN
19

q
VRESET
MANGANIN
22

U
BIASGATE
MANGANIN
24

j
BIASPOWER
26 AWG PTFE
25

INGRID CRYOSTAT DETECTOR WIRING

SK101

PL106

Cinch Micro 

D25F
SIGNAL NAME
CABLE TYPE
Cinch Micro 

D31M






1
OUT1+
TYPE 24 TWISTED
13

2
OUT1-
PAIR SHIELDED
29

3
OUT1 SHIELD
PTFE
12






4
OUT2+
TYPE 24 TWISTED
11

5
OUT2-
PAIR SHIELDED
27

6
OUT2 SHIELD
PTFE
10






7
OUT3+
TYPE 24 TWISTED
9

8
OUT3-
PAIR SHIELDED
25

9
OUT3 SHIELD
PTFE
8






10
OUT4+
TYPE 24 TWISTED
7

11
OUT4-
PAIR SHIELDED
23

12
OUT4 SHIELD
PTFE
6






13
AGND
22 AWG PTFE
30

14
BIAS SHIELD

31

15
VDD POWER

N/C

16
HIGH1
26 AWG PTFE
16

17
HIGH2
26 AWG PTFE
15

18
HIGH3
26 AWG PTFE
18

19
HIGH4
26 AWG PTFE
17

22
VRESET
26 AWG PTFE
2

24
BIASGATE
26 AWG PTFE
4

25
BIASPOWER
22 AWG PTFE
3

INGRID CRYOSTAT CLOCK WIRING

PL2

PL102

Amphenol

20-26 Male
SIGNAL NAME
CABLE TYPE
Cinch Micro 

D37F

A
VDD
26 AWG PTFE
21

b
DGND
26 AWG PTFE
19

b
DGND
26 AWG PTFE
20

N/C
VDD SHIELD

22






R
PIXEL1
SPECIAL
18

M
LSYNC1
FLAT RIBBON
13

E
FSYNC1
HARNESS FROM
36

G
READ1
IRLABS.
31

K
RESET1

26

C
LINE1
USED TO ALLOW
8

P
PIXEL2
EFFICIENT
17

L
LSYNC2
HEAT SINKING
12

D
FSYNC2
AT THERMAL
35

F
READ2
SINK POINT
30

J
RESET2
ON CRYOSTAT
25

B
LINE2
SHIELD.
7

S
PIXEL3

16

N
LSYNC3

11

V
FSYNC3

34

H
READ3

29

X
RESET3

24

T
LINE3

6

a
PIXEL4

15

Z
LSYNC4

10

c
FSYNC4

33

W
READ4

28

Y
RESET4

23

U
LINE4

5

N/C
CLOCK SHIELD 4

32

INGRID CRYOSTAT CLOCK WIRING

SK102

PL107

Cinch Micro 

D37M
SIGNAL NAME
CABLE TYPE
Cinch Micro 

D37M

21
VDD
22 AWG PTFE
21

19
DGND
22 AWG PTFE
19

20
DGND
22 AWG PTFE
20

N/C
VDD SHIELD

22






18
PIXEL1
28 AWG PTFE
18

13
LSYNC1
28 AWG PTFE
13

36
FSYNC1
28 AWG PTFE
36

31
READ1
28 AWG PTFE
31

26
RESET1
28 AWG PTFE
26

8
LINE1
28 AWG PTFE
8

N/C
CLOCK SHIELD 1

14






17
PIXEL2
28 AWG PTFE
17

12
LSYNC2
28 AWG PTFE
12

35
FSYNC2
28 AWG PTFE
35

30
READ2
28 AWG PTFE
30

25
RESET2
28 AWG PTFE
25

7
LINE2
28 AWG PTFE
7

N/C
CLOCK SHIELD 2

9






16
PIXEL3
28 AWG PTFE
16

11
LSYNC3
28 AWG PTFE
11

34
FSYNC3
28 AWG PTFE
34

29
READ3
28 AWG PTFE
29

24
RESET3
28 AWG PTFE
24

6
LINE3
28 AWG PTFE
6

N/C
CLOCK SHIELD 3

4






15
PIXEL4
28 AWG PTFE
15

10
LSYNC4
28 AWG PTFE
10

33
FSYNC4
28 AWG PTFE
33

28
READ4
28 AWG PTFE
28

23
RESET4
28 AWG PTFE
23

5
LINE4
28 AWG PTFE
5

32
CLOCK SHIELD 4

32

INGRID CRYOSTAT TEMPERATURE WIRING

PL3

PL103

Amphenol

20-26 Male
SIGNAL NAME
CABLE TYPE
Cinch  Micro

D37M






A
DETECTOR TEMP +
MANGANIN
1

B
DETECTOR TEMP -
MANGANIN
19

C
CAMERA TEMP +
MANGANIN
3

D
CAMERA TEMP -
MANGANIN
21

E
COLD SHIELD TEMP +
MANGANIN
5

F
COLD SHIELD TEMP -
MANGANIN
23

G
FANOUT TEMP +
MANGANIN
7

H
FANOUT TEMP -
MANGANIN
25

J




K




L




M




N
DETECTOR HEATER +
24 AWG PTFE
30

P
DETECTOR HEATER -
24 AWG PTFE
31

R
COLD CYCLE COOLER TEMP +
MANGANIN x 2
33

S
COLD CYCLE COOLER TEMP -
MANGANIN x 2
34

T
GETTER HEATER +
24 AWG PTFE
36

U
GETTER HEATER -
24 AWG PTFE
37






V
PREFLASH LED +
MANGANIN
9

W
PREFLASH LED -
MANGANIN
10

X
LIGHT BULB +
MANGANIN
28

Y
LIGHT BULB -
MANGANIN
29

Z




a
SPARE
MANGANIN
12

b
TEMPERATURE SHIELD

N/C

c
CRYOSTAT GROUND
26 AWG PTFE
13

INGRID CRYOSTAT TEMPERATURE WIRING

SK103



Cinch  Micro

D37F
SIGNAL NAME
CABLE TYPE


3
CAMERA TEMP +
26 AWG PTFE
D2 ANODE

21
CAMERA TEMP -
26 AWG PTFE
D2 CATHODE

5
COLD SHIELD TEMP +
26 AWG PTFE
D3 ANODE

23
COLD SHIELD TEMP -
26 AWG PTFE
D3 CATHODE

33
COLD CYCLE COOLER TEMP +
22 AWG PTFE
R2

34
COLD CYCLE COOLER TEMP -
22 AWG PTFE
R2

36
GETTER HEATER +
22 AWG PTFE
R3

37
GETTER HEATER -
22 AWG PTFE
R3

28
LIGHT BULB +

N/C

29
LIGHT BULB -

N/C

12
SPARE

N/C

13
CRYOSTAT GROUND
18 AWG PTFE
To focus mount earth lug.




PL108




Cinch Micro

DB9M

9
PREFLASH LED +
26 AWG PTFE
6

10
PREFLASH LED -
26 AWG PTFE
7

7
FANOUT TEMP +
26 AWG PTFE
8

25
FANOUT TEMP -
26 AWG PTFE
9




SK109




Cinch Micro

DB9F

1
DETECTOR TEMP +
26 AWG PTFE
1

19
DETECTOR TEMP -
26 AWG PTFE
2

30
DETECTOR HEATER +
22 AWG PTFE
4

31
DETECTOR HEATER -
22 AWG PTFE
5

INGRID CRYOSTAT MOTOR WIRING

PL4

SK104

Amphenol

20-41 Male
SIGNAL NAME
CABLE TYPE
ITT DB25F






A
PUPIL STOP A+
24 AWG PTFE
1

B
PUPIL STOP A-
24 AWG PTFE
2

C
PUPIL STOP B+
24 AWG PTFE
3

D
PUPIL STOP B-
24 AWG PTFE
4

N/C
PUPIL STOP SHIELD

14






E
PUPIL IMAGER A+
24 AWG PTFE
5

F
PUPIL IMAGER A-
24 AWG PTFE
6

G
PUPIL IMAGER B+
24 AWG PTFE
7

H
PUPIL IMAGER B-
24 AWG PTFE
8

N/C
PUPIL IMAGER SHIELD

9






J
FOCUS DRIVE A+
24 AWG PTFE
10

K
FOCUS DRIVE A-
24 AWG PTFE
11

L
FOCUS DRIVE B+
24 AWG PTFE
12

M
FOCUS DRIVE B-
24 AWG PTFE
13

N/C
FOCUS SHIELD

25






N
FILTER WHEEL 1 A+
24 AWG PTFE
15

P
FILTER WHEEL 1 A-
24 AWG PTFE
16

R
FILTER WHEEL 1 B+
24 AWG PTFE
17

S
FILTER WHEEL 1 B-
24 AWG PTFE
18

N/C
FILTER WHEEL 1 SHIELD

19






T
FILTER WHEEL 2 A+
24 AWG PTFE
21

U
FILTER WHEEL 2 A-
24 AWG PTFE
22

V
FILTER WHEEL 2 B+
24 AWG PTFE
23

W
FILTER WHEEL 2 B-
24 AWG PTFE
24

N/C
FILTER WHEEL 2 SHIELD

20




PL105




Cinch Micro 

D25M

X
PUPIL STOP LIMIT+
MANGANIN
1

Y
PUPIL STOP LIMIT -
MANGANIN
2

Z
PUPIL STOP DATUM
MANGANIN
3

a
PUPIL STOP RETURN
MANGANIN
4

N/C
PUPIL STOP SHIELD

14






b
PUPIL IMAGER LIMIT+
MANGANIN
5

c
PUPIL IMAGER LIMIT -
MANGANIN
6

d
PUPIL IMAGER DATUM
MANGANIN
7

e
PUPIL IMAGER RETURN
MANGANIN
8

N/C
PUPIL IMAGER SHIELD

9






f
FOCUS DRIVE LIMIT+
MANGANIN
10

g
FOCUS DRIVE LIMIT -
MANGANIN
11

h
FOCUS DRIVE DATUM
MANGANIN
12

i
FOCUS DRIVE RETURN
MANGANIN
13

N/C
FOCUS SHIELD

25






j
FILTER WHEEL 1 LIMIT+
MANGANIN
15

k
FILTER WHEEL 1 LIMIT -
MANGANIN
16

m
FILTER WHEEL 1 DATUM
MANGANIN
17

n
FILTER WHEEL 1 RETURN
MANGANIN
18

N/C
FILTER WHEEL 1 SHIELD

19






p
FILTER WHEEL 2 LIMIT+
MANGANIN
21

q
FILTER WHEEL 2 LIMIT -
MANGANIN
22

r
FILTER WHEEL 2 DATUM
MANGANIN
23

s
FILTER WHEEL 2 RETURN
MANGANIN
24

N/C
FILTER WHEEL 2 SHIELD

20

t




INGRID CRYOSTAT MOTOR WIRING

PL104



ITT DB25M
SIGNAL NAME
CABLE TYPE







1
PUPIL STOP A+
18 AWG PTFE
M1 – 1

2
PUPIL STOP A-
18 AWG PTFE
M1 – 2

3
PUPIL STOP B+
18 AWG PTFE
M1 – 3

4
PUPIL STOP B-
18 AWG PTFE
M1 – 4

14
PUPIL STOP SHIELD

M1 – GND






5
PUPIL IMAGER A+
18 AWG PTFE
M2 – 1

6
PUPIL IMAGER A-
18 AWG PTFE
M2 – 2

7
PUPIL IMAGER B+
18 AWG PTFE
M2 – 3

8
PUPIL IMAGER B-
18 AWG PTFE
M2 – 4

9
PUPIL IMAGER SHIELD

M2 – GND






10
FOCUS DRIVE A+
18 AWG PTFE
M3 – 1

11
FOCUS DRIVE A-
18 AWG PTFE
M3 – 2

12
FOCUS DRIVE B+
18 AWG PTFE
M3 – 3

13
FOCUS DRIVE B-
18 AWG PTFE
M3 – 4

25
FOCUS SHIELD

M3 – GND






15
FILTER WHEEL 1 A+
18 AWG PTFE
M4 – 1

16
FILTER WHEEL 1 A-
18 AWG PTFE
M4 – 2

17
FILTER WHEEL 1 B+
18 AWG PTFE
M4 – 3

18
FILTER WHEEL 1 B-
18 AWG PTFE
M4 – 4

19
FILTER WHEEL 1 SHIELD

M4 – GND






21
FILTER WHEEL 2 A+
18 AWG PTFE
M5 – 1

22
FILTER WHEEL 2 A-
18 AWG PTFE
M5 – 2

23
FILTER WHEEL 2 B+
18 AWG PTFE
M5 – 3

24
FILTER WHEEL 2 B-
18 AWG PTFE
M5 – 4

20
FILTER WHEEL 2 SHIELD

M5 – GND

INGRID CRYOSTAT MOTOR WIRING

SK105



Cinch Micro 

D25F
SIGNAL NAME
CABLE TYPE







1
PUPIL STOP LIMIT+
26 AWG PTFE
SW1 N.C

2
PUPIL STOP LIMIT -
26 AWG PTFE
SW2 N.C

3
PUPIL STOP DATUM
26 AWG PTFE
SW3 N.C

4
PUPIL STOP RETURN
26 AWG PTFE
SW1, SW2, SW3, COMM

14
PUPIL STOP SHIELD

M1 GND






5
PUPIL IMAGER LIMIT+
26 AWG PTFE
SW4 N.C

6
PUPIL IMAGER LIMIT -
26 AWG PTFE
SW5 N.C

7
PUPIL IMAGER DATUM
26 AWG PTFE
SW6 N.C

8
PUPIL IMAGER RETURN
26 AWG PTFE
SW4, SW5, SW6, COMM

9
PUPIL IMAGER SHIELD

M2 GND






15
FILTER WHEEL 1 LIMIT+

N/C

16
FILTER WHEEL 1 LIMIT -

N/C

17
FILTER WHEEL 1 DATUM
26 AWG PTFE
SW10 N.C

18
FILTER WHEEL 1 RETURN
26 AWG PTFE
SW10 COMM

19
FILTER WHEEL 1 SHIELD

M4 GND






21
FILTER WHEEL 2 LIMIT+

N/C

22
FILTER WHEEL 2 LIMIT -

N/C

23
FILTER WHEEL 2 DATUM
26 AWG PTFE
SW11 N.C

24
FILTER WHEEL 2 RETURN
26 AWG PTFE
SW11 COMM

20
FILTER WHEEL 2 SHIELD

M5 GND






25
FOCUS SHIELD

M3 GND




SK109




Cinch Micro

DB9F

10
FOCUS DRIVE LIMIT+
26 AWG PTFE
7

11
FOCUS DRIVE LIMIT -
26 AWG PTFE
9

12
FOCUS DRIVE DATUM
26 AWG PTFE
3

13
FOCUS DRIVE RETURN
26 AWG PTFE
6,8






FOCUS DRIVE MOUNTCABLING

PL109




Cinch Micro

DB9M
SIGNAL NAME
CABLE TYPE


1
DETECTOR TEMP +
26 AWG PTFE
D1 ANODE

2
DETECTOR TEMP -
26 AWG PTFE
D1 CATHODE

3
FOCUS DRIVE DATUM
26 AWG PTFE
SW7 COM

4
DETECTOR HEATER +
26 AWG PTFE
R1 +

5
DETECTOR HEATER -
26 AWG PTFE
R1 -

6
FOCUS DRIVE RETURN
26 AWG PTFE
SW7 COM

7
FOCUS DRIVE LIMIT+
26 AWG PTFE
SW7 N.C

8
FOCUS DRIVE RETURN
26 AWG PTFE
SW8 COM

9
FOCUS DRIVE LIMIT -
26 AWG PTFE
SW8 N.C






INGRID ARRAY PINOUTS (HAWAII 1024 x 1024 SWIR)

PIN
HAWAII
INGRID
PIN
HAWAII
INGRID
PIN
HAWAII
INGRID
PIN
HAWAII
INGRID

1
VSS3
DGND
22
VRST2
VRESET
43
DRAIN1

64
VSS4
DGND

2
VDD3
VDD
23
CELDRN2

44
VSS1
DGND
65
DRAIN4


3
HIGH3
HIGH3
24
LSYNC2
LSYNC2
45
VDD1
VDD
66
SOURCE4


4
LOW3
AGND
25
LINECHK2

46
LINE1
LINE1
67
BUS4


5
FRMCHK3

26
PIXEL2
PIXEL2
47
FSYNC1
FSYNC1
68
BIASGATE4
BIASGATE

6
RESETB3
RESET3
27
BIASPWR2
BIASPWR
48
MUXSUB

69
BIASPWR4
BIASPWR

7
READ3
READ3
28
BIASGATE2
BIASGATE
49
READ1
READ1
70
PIXEL4
PIXEL4

8
LINE3
LINE3
29
BUS2

50
RESETB1
RESET1
71
LINECHK4


9
FSYNC3
FSYNC3
30
SOURCE2

51
FRMCHK1

72
LSYNC4
LSYNC4

10
N/C

31
DRAIN2

52
LOW1
AGND
73
CELDRN4


11
HIGH2
HIGH2
32
VRST1
VRESET
53
HIGH1
HIGH1
74
VRST4
VRESET

12
LOW2
AGND
33
CELDRN1

54
N/C

75
DRAIN3


13
FRMCHK2

34
DSUB

55
N/C

76
SOURCE3


14
RESETB2
RESET2
35
CELLWELL

56
FSYNC4
FSYNC4
77
BUS3


15
READ2
READ2
36
LSYNC1
LSYNC1
57
LINE4
LINE4
78
BIASGATE3
BIASGATE

16
N/C

37
LINECHK1

58
READ4
READ4
79
BIASPWR3
BIASPWR

17
N/C

38
PIXEL1
PIXEL1
59
RESETB4
RESET4
80
PIXEL3
PIXEL3

18
FSYNC2
FSYNC2
39
BIASPWR1
BIASPWR
60
FRMCHK4

81
LINECHK3


19
LINE2
LINE2
40
BIASGATE1
BIASGATE
61
LOW4
AGND
82
LSYNC3
LSYNC3

20
VDD2
VDD
41
BUS1

62
HIGH4
HIGH4
83
CELDRN3


21
VSS2
DGND
42
SOURCE1

63
VDD4
VDD
84
VRST3
VRESET


[image: image2.wmf]SK6

PL204

INGRID SDSU INTERNAL WIRING

PL205

AUXILARY BOARD

PL209

1

SPARE SLOT

VIDEO BOARD 1

VIDEO BOARD 2

CLOCK BOARD

TIMING BOARD

PL207

PL205

PL208

PL206

PL204

FO3

FO4

SDSU CHASSIS FRONT VIEW

SDSU FRONT PLATE VIEW

SPARE

PL8

SK7

SK6

PL206

PL207

PL208

SK7

PL209

SK8

FO3

FO1

FO4

FO2

SDSU CHASSIS BACK VIEW

SK9

F01

FO1

F01

FO2

VDD POWER


INGRID SDSU VIDEO & BIAS CABLE

PL205

SK6

DB9F
SIGNAL NAME
CABLE TYPE
DB50F

4
OUT1
50 OHM MIN COAX
2

N/C
OUT1 SHIELD
COAX SHIELD
19

2
OUT2
50 OHM MIN COAX
3

N/C
OUT2 SHIELD
COAX SHIELD
20

8
ANALOG GROUND
18 AWG PTFE
35






PL206




DB15F




1
HIGH2
26 AWG PTFE
7

2
HIGH1
26 AWG PTFE
24

3
OFFSET2
26 AWG PTFE
36

4
OFFSET3
26 AWG PTFE
37

5
OFFSET4
26 AWG PTFE
38

6
BIASPWR
26 AWG PTFE
17

9
+ 15 VOLT SUPPLY
18 AWG PTFE
1

10
- 15 VOLT SUPPLY
18 AWG PTFE
34






PL207




DB9F




4
OUT3
50 OHM MIN COAX
4

N/C
OUT3 SHIELD
COAX SHIELD
21

2
OUT4
50 OHM MIN COAX
5

N/C
OUT4 SHIELD
COAX SHIELD
22

8
ANALOG GROUND
18 AWG PTFE
35






PL208




DB15F




1
OFFSET1
26 AWG PTFE
18

2
VRESET
26AWG PTFE
41

3
HIGH4
26 AWG PTFE
39

4
BIASGATE
26 AWG PTFE
50

5
VDD POWER
26 AWG PTFE
8

6
HIGH3
26 AWG PTFE
23

8
BIAS SHIELD
26 AWG PTFE
25







FRONT PANEL EARTH TAG
18 AWG PTFE
35

INGRID SDSU CLOCK CABLE

SK7

SK6

Amphenol 16-26 Female
SIGNAL NAME
CABLE TYPE
DB50F






A
VDD
26 AWG PTFE
8









SK204




DB37F

B
LINE2
26 AWG PTFE
8

C
LINE1
26 AWG PTFE
2

D
FSYNC2
26 AWG PTFE
10

E
FSYNC1
26 AWG PTFE
4

F
READ2
26 AWG PTFE
12

G
READ1
26 AWG PTFE
6

H
READ3
26 AWG PTFE
18

J
RESET2
26 AWG PTFE
7

K
RESET1
26 AWG PTFE
1

L
LSYNC2
26 AWG PTFE
9

M
LSYNC1
26 AWG PTFE
3

N
LSYNC3
26 AWG PTFE
15

P
PIXEL2
26 AWG PTFE
11

R
PIXEL1
26 AWG PTFE
5

S
PIXEL3
26 AWG PTFE
17

T
LINE3
26 AWG PTFE
14

U
LINE4
26 AWG PTFE
33

V
FSYNC3
26 AWG PTFE
16

W
READ4
26 AWG PTFE
37

X
RESET3
26 AWG PTFE
13

Y
RESET4
26 AWG PTFE
19

Z
LSYNC4
26 AWG PTFE
34

a
PIXEL4
26 AWG PTFE
36

b
DGND
18 AWG PTFE
22

c
FSYNC4
26 AWG PTFE
35

INGRID UTILITY CABLE

PL8

PL209

Amphenol

16-26 Male
SIGNAL NAME
CABLE TYPE
10 Pin Header






A
DETECTOR TEMP +
26 AWG PTFE
3

B
DETECTOR TEMP -
26 AWG PTFE
6

C
CAMERA TEMP +
26 AWG PTFE
4

D
CAMERA TEMP -
26 AWG PTFE
6

E
COLD SHIELD TEMP +
26 AWG PTFE
5

F
COLD SHIELD TEMP -
26 AWG PTFE
6

G
FANOUT TEMP +

N/C

H
FANOUT TEMP -

N/C

b
TEMPERATURE SHIELD

N/C

J




K




L




M




N
DETECTOR HEATER +
22 AWG PTFE
7

P
DETECTOR HEATER -
22 AWG PTFE
8

R
COLD CYCLE COOLER TEMP +

N/C

S
COLD CYCLE COOLER TEMP -

N/C

T
GETTER HEATER +

N/C

U
GETTER HEATER -

N/C






V
PREFLASH LED +
26 AWG PTFE
9

W
PREFLASH LED -
26 AWG PTFE
6

X
PRESSURE SENSE +

N/C

Y
PRESSURE SENSE  / POWER -

N/C

Z
PRESSURE POWER +

N/C

a
SPARE

N/C

b
PRESSURE SHIELD

N/C

c
CRYOSTAT GROUND
18 AWG PTFE
Ground lug on Front Panel

SDSU CLOCK BOARD PINOUT

SDSU VIDEO BOARD PINOUTS

PL204



PL205



DB37M
INGRID SIG
SDSU SIG

DB9M
INGRID SIG
SDSU SIG

1
RESET1
CLK0

1
N/C
INPUT 2 -

2
LINE1
CLK1

2
OUT2+
INPUT 2 +

3
LSYNC1
CLK2

3
N/C
INPUT 1 -

4
FSYNC1
CLK3

4
OUT1+
INPUT 1 +

5
PIXEL1
CLK4

5
N/C
AGND

6
READ1
CLK5

6
N/C
AGND

7
RESET2
CLK6

7
N/C
AGND

8
LINE2
CLK7

8
AGND
AGND

9
LSYNC2
CLK8

9
N/C
AGND

10
FSYNC2
CLK9

PL206



11
PIXEL2
CLK10

DB15M
INGRID SIG
SDSU SIG

12
READ2
CLK11

1
HIGH2
DAC-0

13
RESET3
CLK12

2
HIGH1
DAC-1

14
LINE3
CLK13

3
OFFSET2
DAC-2

15
LSYNC3
CLK14

4
OFFSET3
DAC-3

16
FSYNC3
CLK15

5
OFFSET4
DAC-4

17
PIXEL3
CLK16

6
BIASPWR
DAC-5

18
READ3
CLK17

7
N/C
AGND

19
RESET4
CLK18

8
N/C
AGND

20

+12v

9
+15v
+15v

21

-12v

10
-15v
-15v

22
DGND
CLK GND

11
N/C
AGND

23

CLK GND

12
N/C
AGND

24

CLK GND

13
N/C
AGND

25

CLK GND

14
N/C
AGND

26

CLK GND

15
N/C
AGND

27

CLK GND

PL207



28

CLK GND

DB9M
INGRID SIG
SDSU SIG

29

CLK GND

1
N/C
INPUT 2 -

30

CLK GND

2
OUT4+
INPUT 2 +

31

CLK GND

3
N/C
INPUT 1 -

32

CLK GND

4
OUT3+
INPUT 1 +

33
LINE4
CLK19

5
N/C
AGND

34
LSYNC4
CLK20

6
N/C
AGND

35
FSYNC4
CLK21

7
N/C
AGND

36
PIXEL4
CLK22

8
AGND
AGND

37
READ4
CLK23

9
N/C
AGND





PL208







DB15M
INGRID SIG
SDSU SIG





1
OFFSET1
DAC-0





2
VRESET
DAC-1





3
HIGH4
DAC-2





4
BIASGATE
DAC-3





5
VDD POWER
DAC-4





6
HIGH3
DAC-5





7
N/C
AGND





8
N/C
AGND





9
N/C
+15v





10
N/C
-15v





11
N/C
AGND





12
N/C
AGND





13
N/C
AGND





14
N/C
AGND





15
N/C
AGND


[image: image3.wmf]DIGIAMP

SD MB

GND

FLT

CLK

DIR

ENG

6

5

7

3

8

SKT2

TB1

1A

1B

2A

2B

DIGIAMP

SD MB

GND

FLT

CLK

DIR

ENG

6

5

7

3

8

SKT2

TB1

1A

1B

2A

2B

DIGIAMP

SD MB

GND

FLT

CLK

DIR

ENG

6

5

7

3

8

SKT2

TB1

1A

1B

2A

2B

DIGIAMP

SD MB

GND

FLT

CLK

DIR

ENG

6

5

7

3

8

SKT2

TB1

1A

1B

2A

2B

DIGIAMP

SD MB

GND

FLT

CLK

DIR

ENG

6

5

7

3

8

SKT2

TB1

1A

1B

2A

2B

SK14

SK12

PL13

PL11

PK120

POWER SUPPLY

PL15

INGRID MECHANISM AMPLIFIER

CHASSIS

AMP 1

PUPIL STOP

MECHANISM

AMP 2

PUPIL IMAGER

MECHANISM

AMP 3

FOCUS

 MECHANISM

AMP 4

FILTER WHEEL 1

 MECHANISM

AMP 5

FILTER WHEEL 2

 MECHANISM

LIMITS / DATUM

SENSORS

MOTOR

DRIVE

POWER

CONTROL

DRIVE

STATUS

MOTOR

CONTROL

DEBOUNCE

CIRCUITS

 (7)

CLK

J1

J1

Debounce

Power

Suuply (5v)


INGRID DIGIPLAN AMPLIFIER CHASSIS

SK12



Amphenol

16-26 Female
SIGNAL NAME
CABLE TYPE







A
PUPIL STOP A+

AMP1 TB1 1A

B
PUPIL STOP A-

AMP1 TB1 1B

C
PUPIL STOP B+

AMP1 TB1 2A

D
PUPIL STOP B-

AMP1 TB1 2B

Chassis GND
MOTOR DRIVE SHIELD

N/C






E
PUPIL IMAGER A+

AMP2 TB1 1A

F
PUPIL IMAGER A-

AMP2 TB1 1B

G
PUPIL IMAGER B+

AMP2 TB1 2A

H
PUPIL IMAGER B-

AMP2 TB1 2B

Chassis GND
MOTOR DRIVE SHIELD

N/C






J
FOCUS DRIVE A+

AMP3 TB1 1A

K
FOCUS DRIVE A-

AMP3 TB1 1B

L
FOCUS DRIVE B+

AMP3 TB1 2A

M
FOCUS DRIVE B-

AMP3 TB1 2B

Chassis GND
MOTOR DRIVE SHIELD

N/C






N
FILTER WHEEL 1 A+

AMP4 TB1 1A

P
FILTER WHEEL 1 A-

AMP4 TB1 1B

R
FILTER WHEEL 1 B+

AMP4 TB1 2A

S
FILTER WHEEL 1 B-

AMP4 TB1 2B

Chassis GND
MOTOR DRIVE SHIELD

N/C






T
FILTER WHEEL 2 A+

AMP5 TB1 1A

U
FILTER WHEEL 2 A-

AMP5 TB1 1B

V
FILTER WHEEL 2 B+

AMP5 TB1 2A

W
FILTER WHEEL 2 B-

AMP5 TB1 2B

Chassis GND
MOTOR DRIVE SHIELD

N/C






X




Y




Z




a




b
MOTOR DRIVE SHIELD

Chassis GND

c




INGRID DIGIPLAN AMPLIFIER CHASSIS – MOTOR CONTROL

PL13




DB37M
SIGNAL NAME
CABLE TYPE


1
PUPIL STOP STEP

AMP1 SKT2-7

2
PUPIL STOP DIRECTION

AMP1 SKT2-5

3
PUPIL STOP ENERGISE

AMP1 SKT2-6

32
PUPIL STOP RETURN

AMP1 SKT2-8

7
PUPIL IMAGER STEP

AMP2 SKT2-7

8
PUPIL IMAGER DIRECTION

AMP2 SKT2-5

9
PUPIL IMAGER ENERGISE

AMP2 SKT2-6

33
PUPIL IMAGER RETURN

AMP2 SKT2-8

13
FOCUS STEP

AMP3 SKT2-7

14
FOCUS DIRECTION

AMP3 SKT2-5

15
FOCUS ENERGISE

AMP3 SKT2-6

34
FOCUS RETURN

AMP3 SKT2-8

19
FILTER WHEEL 1 STEP

AMP4 SKT2-7

20
FILTER WHEEL 1 DIRECTION

AMP4 SKT2-5

21
FILTER WHEEL 1 ENERGISE

AMP4 SKT2-6

35
FILTER WHEEL 1 RETURN

AMP4 SKT2-8

25
FILTER WHEEL 2 STEP

AMP5 SKT2-7

26
FILTER WHEEL 2 DIRECTION

AMP5 SKT2-5

27
FILTER WHEEL 2 ENERGISE

AMP5 SKT2-6

36
FILTER WHEEL 2 RETURN

AMP5 SKT2-8

37









INGRID DIGIPLAN AMPLIFIER CHASSIS – MECHANISM STATUS

J1
PL13


PL11


DB37M


Amphenol

16-26 Male


4
PUPIL STOP LIMIT+
*
A


5
PUPIL STOP LIMIT -
*
B

a

PUPIL STOP DATUM IN

C

c
6
PUPIL STOP DATUM OUT



a

PUPIL IMAGER LIMIT+ IN

E

c
10
PUPIL IMAGER LIMIT+ OUT



a

PUPIL IMAGER LIMIT - IN

F

c
11
PUPIL IMAGER LIMIT - OUT




12
PUPIL IMAGER DATUM
*
G


16
FOCUS DRIVE LIMIT+
*
J

a

FOCUS DRIVE LIMIT – IN

K

c
17
FOCUS DRIVE LIMIT - OUT



a

FOCUS DRIVE DATUM IN

L

c
18
FOCUS DRIVE DATUM OUT




22
FILTER WHEEL 1 LIMIT+
*
N


23
FILTER WHEEL 1 LIMIT -
*
P

a

FILTER WHEEL 1 DATUM IN

R

c
24
FILTER WHEEL 1 DATUM OUT




28
FILTER WHEEL 2 LIMIT+
*
T


29
FILTER WHEEL 2 LIMIT -
*
U

a

FILTER WHEEL 2 DATUM IN

V

c
30
FILTER WHEEL 2 DATUM OUT







X





Y





Z





a

1a,c

DEBOUNCE VCC (+5v) SUPPLY



32a,c

DEBOUNCE VDD (gnd) SUPPLY



AMP5 SKT2-
DEBOUNCE CLOCK



Chassis GND
SENSOR SHIELD WIRES

b

AMP1 SKT2-8
PUPIL STOP RETURN

D

AMP2 SKT2-8
PUPIL IMAGER RETURN

H

AMP3 SKT2-8
FOCUS DRIVE RETURN

M

AMP4 SKT2-8
FILTER WHEEL 1 RETURN

S

AMP5 SKT2-8
FILTER WHEEL 2 RETURN

W

NOTES:-

35. CONNECTIONS MARKED WITH AN * ARE NOT USED AND MUST BE TIED TO THERE RESPECTIVE RETURNS IN THE CRYOSTAT.

INGRID DIGIPLAN AMPLIFIER CHASSIS – DRIVE STATUS

SK14



DB50F 
SIGNAL NAME
CABLE TYPE







1
PUPIL STOP AMP FAULT (PORT0 BIT0)

AMP1 SKT2-3

2
FILTER 1 AMP FAULT (PORT0 BIT3)

AMP4 SKT2-3

3
(PORT0 BIT6)



4
(FLAGS BIT0)



5
(PORT1 BIT0)



6
(PORT1 BIT3)



7
(PORT1 BIT6)



8
(FLAGS BIT1)



9
(PORT2 BIT0)



0
(PORT2 BIT3)



11
(PORT2 BIT6)



12
FLAGS BIT2)



13
(PORT3 BIT0)



14
(PORT3 BIT3)



15
(PORT3 BIT6)



16
(FLAGS BIT3)



17
GROUND RETURN



18
FOCUS AMP DRIVE FAULT (PORT0 BIT2)

AMP3 SKT2-3

19
(PORT0 BIT5)



20
(INTERUPT REG BIT0)



21
GROUND RETURN



22
(PORT1 BIT2)



23
(PORT1 BIT5)



24
(INTERUPT REG BIT1)



25
GROUND RETURN



26
(PORT2 BIT2)



27
(PORT2 BIT5)



28
(INTERUPT REG BIT2)



29
GROUND RETURN



30
(PORT3 BIT2)



31
(PORT3 BIT5)



32
(INTERUPT REG BIT3)



33
GROUND RETURN



34
PUPIL IMAGER AMP FAULT (PORT0 BIT1)

AMP2 SKT-3

35
FILTER 2 AMP FAULT (PORT0 BIT4)

AMP5 SKT2-3

36
(PORT0 BIT7)



37
GROUND RETURN



38
(PORT1 BIT1)



39
(PORT1 BIT4)



40
(PORT1 BIT7)



41
GROUND RETURN



42
(PORT2 BIT1)



43
(PORT2 BIT4)



44
(PORT2 BIT7)



45
GROUND RETURN



46
(PORT3 BIT1)



47
(PORT3 BIT4)



48
(PORT3 BIT7)



49
GROUND RETURN



50
FAULT RETURNS

CHASSIS GND

INGRID DIGIPLAN AMPLIFIER CHASSIS – POWER CONTROL

PL15



DB50M 
SIGNAL NAME
CABLE TYPE







1
PSU CONTROL  (PORT4 BIT0)

PSU - 24

2
(PORT4 BIT3)



3
(PORT4 BIT6)



4
(FLAGS BIT4)



5
(PORT5 BIT0)



6
(PORT5 BIT3)



7
(PORT5 BIT6)



8
(FLAGS BIT5)



9
(PORT6 BIT0)



0
(PORT6 BIT3)



11
(PORT6 BIT6)



12
FLAGS BIT6)



13
(PORT7 BIT0)



14
(PORT7 BIT3)



15
(PORT7 BIT6)



16
(FLAGS BIT7)



17
GROUND RETURN



18
(PORT4 BIT2)



19
(PORT4 BIT5)



20
(INTERUPT REG BIT4)



21
GROUND RETURN



22
(PORT5 BIT2)



23
(PORT5 BIT5)



24
(INTERUPT REG BIT5)



25
GROUND RETURN



26
(PORT6 BIT2)



27
(PORT6 BIT5)



28
(INTERUPT REG BIT6)



29
GROUND RETURN



30
(PORT7 BIT2)



31
(PORT7 BIT5)



32
(INTERUPT REG BIT7)



33
GROUND RETURN



34
(PORT4 BIT1)



35
(PORT4 BIT4)



36
(PORT4 BIT7)



37
GROUND RETURN



38
(PORT5 BIT1)



39
(PORT5 BIT4)



40
(PORT5 BIT7)



41
GROUND RETURN



42
(PORT6 BIT1)



43
(PORT6 BIT4)



44
(PORT6 BIT7)



45
GROUND RETURN



46
(PORT7 BIT1)



47
(PORT7 BIT4)



48
(PORT7 BIT7)



49
GROUND RETURN



50
PSU CONTROL RETURN

CHASSIS GND


[image: image4.wmf]SK16

SK18

PL17

P2 VME8

JK2 XVME 240

JK1 XVME240

VME WIRING


INGRID VME CHASSIS – MOTOR CONTROL

SK18

VME8 - P2

DB37F
SIGNAL NAME
CABLE TYPE
64 WAY DIN 41612

1
PUPIL STOP STEP

C9

2
PUPIL STOP DIRECTION

A10

3
PUPIL STOP ENERGISE

C10

4
PUPIL STOP LIMIT+

A12

5
PUPIL STOP LIMIT -

C11

6
PUPIL STOP DATUM

C12

7
PUPIL IMAGER STEP

C13

8
PUPIL IMAGER DIRECTION

A14

9
PUPIL IMAGER ENERGISE

C14

10
PUPIL IMAGER LIMIT+

A16

11
PUPIL IMAGER LIMIT -

C15

12
PUPIL IMAGER DATUM

C16

13
FOCUS STEP

C17

14
FOCUS DIRECTION

A18

15
FOCUS ENERGISE

C18

16
FOCUS DRIVE LIMIT+

A20

17
FOCUS DRIVE LIMIT -

C19

18
FOCUS DRIVE DATUM

C20

19
FILTER WHEEL 1 STEP

C1

20
FILTER WHEEL 1 DIRECTION

A2

21
FILTER WHEEL 1 ENERGISE

C2

22
FILTER WHEEL 1 LIMIT+

A4

23
FILTER WHEEL 1 LIMIT -

C3

24
FILTER WHEEL 1 DATUM

C4

25
FILTER WHEEL 2 STEP

C5

26
FILTER WHEEL 2 DIRECTION

A6

27
FILTER WHEEL 2 ENERGISE

C6

28
FILTER WHEEL 2 LIMIT+

A8

29
FILTER WHEEL 2 LIMIT -

C7

30
FILTER WHEEL 2 DATUM

C8

31
GND

A3

32
PUPIL STOP RETURN

A7

33
PUPIL IMAGER RETURN

A11

34
FOCUS RETURN

A15

35
FILTER WHEEL 1 RETURN

23A

36
FILTER WHEEL 2 RETURN

19A

37
CHASSIS GND

CHASSIS

INGRID VME CHASSIS – DRIVE STATUS

PL17

XVME-240 JK1

DB50M
SIGNAL NAME
CABLE TYPE
50 WAY HEADER

1
PUPIL STOP AMP FAULT (PORT0 BIT0)
50 WAY FLAT RIBBON


2
FILTER 1 AMP FAULT (PORT0 BIT3)



3
(PORT0 BIT6)



4
(FLAGS BIT0)



5
(PORT1 BIT0)



6
(PORT1 BIT3)



7
(PORT1 BIT6)



8
(FLAGS BIT1)



9
(PORT2 BIT0)



0
(PORT2 BIT3)



11
(PORT2 BIT6)



12
FLAGS BIT2)



13
(PORT3 BIT0)



14
(PORT3 BIT3)



15
(PORT3 BIT6)



16
(FLAGS BIT3)



17
GROUND RETURN



18
FOCUS AMP DRIVE FAULT (PORT0 BIT2)



19
(PORT0 BIT5)



20
(INTERUPT REG BIT0)



21
GROUND RETURN



22
(PORT1 BIT2)



23
(PORT1 BIT5)



24
(INTERUPT REG BIT1)



25
GROUND RETURN



26
(PORT2 BIT2)



27
(PORT2 BIT5)



28
(INTERUPT REG BIT2)



29
GROUND RETURN



30
(PORT3 BIT2)



31
(PORT3 BIT5)



32
(INTERUPT REG BIT3)



33
GROUND RETURN



34
PUPIL IMAGER AMP FAULT (PORT0 BIT1)



35
FILTER 2 AMP FAULT (PORT0 BIT4)



36
(PORT0 BIT7)



37
GROUND RETURN



38
(PORT1 BIT1)



39
(PORT1 BIT4)



40
(PORT1 BIT7)



41
GROUND RETURN



42
(PORT2 BIT1)



43
(PORT2 BIT4)



44
(PORT2 BIT7)



45
GROUND RETURN



46
(PORT3 BIT1)



47
(PORT3 BIT4)



48
(PORT3 BIT7)



49
GROUND RETURN



50
FAULT RETURNS



INGRID VME CHASSIS – POWER CONTROL

SK16

XVME240 – JK2

DB50F 
SIGNAL NAME
CABLE TYPE
50 WAY HEADER

1
PSU CONTROL  (PORT4 BIT0)
50 WAY FLAT RIBBON


2
(PORT4 BIT3)



3
(PORT4 BIT6)



4
(FLAGS BIT4)



5
(PORT5 BIT0)



6
(PORT5 BIT3)



7
(PORT5 BIT6)



8
(FLAGS BIT5)



9
(PORT6 BIT0)



0
(PORT6 BIT3)



11
(PORT6 BIT6)



12
FLAGS BIT6)



13
(PORT7 BIT0)



14
(PORT7 BIT3)



15
(PORT7 BIT6)



16
(FLAGS BIT7)



17
GROUND RETURN



18
(PORT4 BIT2)



19
(PORT4 BIT5)



20
(INTERUPT REG BIT4)



21
GROUND RETURN



22
(PORT5 BIT2)



23
(PORT5 BIT5)



24
(INTERUPT REG BIT5)



25
GROUND RETURN



26
(PORT6 BIT2)



27
(PORT6 BIT5)



28
(INTERUPT REG BIT6)



29
GROUND RETURN



30
(PORT7 BIT2)



31
(PORT7 BIT5)



32
(INTERUPT REG BIT7)



33
GROUND RETURN



34
(PORT4 BIT1)



35
(PORT4 BIT4)



36
(PORT4 BIT7)



37
GROUND RETURN



38
(PORT5 BIT1)



39
(PORT5 BIT4)



40
(PORT5 BIT7)



41
GROUND RETURN



42
(PORT6 BIT1)



43
(PORT6 BIT4)



44
(PORT6 BIT7)



45
GROUND RETURN



46
(PORT7 BIT1)



47
(PORT7 BIT4)



48
(PORT7 BIT7)



49
GROUND RETURN



50
PSU CONTROL RETURN

CHASSIS GND

� LINK Visio.Drawing.5 C:\\Users\\pcm\\INGRID\\Drawings\\WIRING.vsd  \a \p ���











PAGE  
95

[image: image6.wmf]TRNSVR

WHT SubNet

WHT SubNet

Ethernet

Ethernet

SCSI II WIDE

TUCANA

9 GB Drives

DAT Drv

LPSS9

Hub

IRLabs

SDSU Controller

WHT Control Room Patch

WHT Cass TT Patch

PL9

PL10

SK9

SK10

240v

SDSU

PSU

INGRID POWER

AMPLIFIERS

INGRID

VME CRATE

240v

240v IN

SK19

240v OUT

SK20

Monitor

VxWorks Comm

SK16

SK18

PL17

SK14

PL13

PL15

PL16

PL18

SK17

SK15

SK13

PL14

PL11

SK12

SK6

SK7

INGRID CRYOSTAT

PRE -

AMP

PL5

PL1

SK1

PL2

PL3

PL4

PL6

PL8

SK5

SK3

SK2

SK11

PL12

SK4

CLOSED

CYCLE

COOLER

PL21

HELIUM

COMPRESSOR

SK23

PL23

SK22

SK21

PL22

INGRID SYSTEM CABLING

CASS FOCUS

PL7

(In Ghrill Room)

FO1

FO2

FO1

FO2

FO1

FO2

FO1

FO2

PRESSURE

SENSOR

PL24

SK24

SK8

MOTOR CONTROL

DRIVE STATUS

POWER CONTROL

GND

POINT

GND

POINT

GND

POINT

_1055745958.unknown

_1055746668.unknown

_1055746669.unknown

_1055746670.unknown

_1055746667.unknown

_1055746666.unknown

_1055745956.unknown

_1055745957.unknown

_1055745955.unknown

_1055745953.unknown

