INGRID SDSU VIDEO & BIAS CABLE

PL205

SK6

DB9F
SIGNAL NAME
CABLE TYPE
DB50F

4
OUT1
50 OHM MIN COAX
2

N/C
OUT1 SHIELD
COAX SHIELD
19

2
OUT2
50 OHM MIN COAX
3

N/C
OUT2 SHIELD
COAX SHIELD
20

8
ANALOG GROUND
18 AWG PTFE
35






PL206




DB15F




1
HIGH2
26 AWG PTFE
7

2
HIGH1
26 AWG PTFE
24

3
OFFSET2
26 AWG PTFE
36

4
OFFSET3
26 AWG PTFE
37

5
OFFSET4
26 AWG PTFE
38

6
BIASPWR
26 AWG PTFE
17

9
+ 15 VOLT SUPPLY
18 AWG PTFE
1

10
- 15 VOLT SUPPLY
18 AWG PTFE
34






PL207




DB9F




4
OUT3
50 OHM MIN COAX
4

N/C
OUT3 SHIELD
COAX SHIELD
21

2
OUT4
50 OHM MIN COAX
5

N/C
OUT4 SHIELD
COAX SHIELD
22

8
ANALOG GROUND
18 AWG PTFE
35






PL208




DB15F




1
OFFSET1
26 AWG PTFE
18

2
VRESET
26AWG PTFE
41

3
HIGH4
26 AWG PTFE
39

4
BIASGATE
26 AWG PTFE
50

5
VDD POWER
26 AWG PTFE
8

6
HIGH3
26 AWG PTFE
23

8
BIAS SHIELD
26 AWG PTFE
25







FRONT PANEL EARTH TAG
18 AWG PTFE
35

INGRID SDSU CLOCK CABLE

SK7

SK6

Amphenol 16-26 Female
SIGNAL NAME
CABLE TYPE
DB50F






A
VDD
26 AWG PTFE
8









SK204




DB37F

B
LINE2
26 AWG PTFE
8

C
LINE1
26 AWG PTFE
2

D
FSYNC2
26 AWG PTFE
10

E
FSYNC1
26 AWG PTFE
4

F
READ2
26 AWG PTFE
12

G
READ1
26 AWG PTFE
6

H
READ3
26 AWG PTFE
18

J
RESET2
26 AWG PTFE
7

K
RESET1
26 AWG PTFE
1

L
LSYNC2
26 AWG PTFE
9

M
LSYNC1
26 AWG PTFE
3

N
LSYNC3
26 AWG PTFE
15

P
PIXEL2
26 AWG PTFE
11

R
PIXEL1
26 AWG PTFE
5

S
PIXEL3
26 AWG PTFE
17

T
LINE3
26 AWG PTFE
14

U
LINE4
26 AWG PTFE
33

V
FSYNC3
26 AWG PTFE
16

W
READ4
26 AWG PTFE
37

X
RESET3
26 AWG PTFE
13

Y
RESET4
26 AWG PTFE
19

Z
LSYNC4
26 AWG PTFE
34

a
PIXEL4
26 AWG PTFE
36

b
DGND
18 AWG PTFE
22

c
FSYNC4
26 AWG PTFE
35

INGRID UTILITY CABLE

PL8

PL209

Amphenol

16-26 Male
SIGNAL NAME
CABLE TYPE
10 Pin Header






A
DETECTOR TEMP +
26 AWG PTFE
3

B
DETECTOR TEMP -
26 AWG PTFE
6

C
CAMERA TEMP +
26 AWG PTFE
4

D
CAMERA TEMP -
26 AWG PTFE
6

E
COLD SHIELD TEMP +
26 AWG PTFE
5

F
COLD SHIELD TEMP -
26 AWG PTFE
6

G
FANOUT TEMP +

N/C

H
FANOUT TEMP -

N/C

b
TEMPERATURE SHIELD

N/C

J




K




L




M




N
DETECTOR HEATER +
22 AWG PTFE
7

P
DETECTOR HEATER -
22 AWG PTFE
8

R
COLD CYCLE COOLER TEMP +

N/C

S
COLD CYCLE COOLER TEMP -

N/C

T
GETTER HEATER +

N/C

U
GETTER HEATER -

N/C






V
PREFLASH LED +
26 AWG PTFE
9

W
PREFLASH LED -
26 AWG PTFE
6

X
PRESSURE SENSE +

N/C

Y
PRESSURE SENSE  / POWER -

N/C

Z
PRESSURE POWER +

N/C

a
SPARE

N/C

b
PRESSURE SHIELD

N/C

c
CRYOSTAT GROUND
18 AWG PTFE
Ground lug on Front Panel

SDSU CLOCK BOARD PINOUT

SDSU VIDEO BOARD PINOUTS

PL204



PL205



DB37M
INGRID SIG
SDSU SIG

DB9M
INGRID SIG
SDSU SIG

1
RESET1
CLK0

1
N/C
INPUT 2 -

2
LINE1
CLK1

2
OUT2+
INPUT 2 +

3
LSYNC1
CLK2

3
N/C
INPUT 1 -

4
FSYNC1
CLK3

4
OUT1+
INPUT 1 +

5
PIXEL1
CLK4

5
N/C
AGND

6
READ1
CLK5

6
N/C
AGND

7
RESET2
CLK6

7
N/C
AGND

8
LINE2
CLK7

8
AGND
AGND

9
LSYNC2
CLK8

9
N/C
AGND

10
FSYNC2
CLK9

PL206



11
PIXEL2
CLK10

DB15M
INGRID SIG
SDSU SIG

12
READ2
CLK11

1
HIGH2
DAC-0

13
RESET3
CLK12

2
HIGH1
DAC-1

14
LINE3
CLK13

3
OFFSET2
DAC-2

15
LSYNC3
CLK14

4
OFFSET3
DAC-3

16
FSYNC3
CLK15

5
OFFSET4
DAC-4

17
PIXEL3
CLK16

6
BIASPWR
DAC-5

18
READ3
CLK17

7
N/C
AGND

19
RESET4
CLK18

8
N/C
AGND

20

+12v

9
+15v
+15v

21

-12v

10
-15v
-15v

22
DGND
CLK GND

11
N/C
AGND

23

CLK GND

12
N/C
AGND

24

CLK GND

13
N/C
AGND

25

CLK GND

14
N/C
AGND

26

CLK GND

15
N/C
AGND

27

CLK GND

PL207



28

CLK GND

DB9M
INGRID SIG
SDSU SIG

29

CLK GND

1
N/C
INPUT 2 -

30

CLK GND

2
OUT4+
INPUT 2 +

31

CLK GND

3
N/C
INPUT 1 -

32

CLK GND

4
OUT3+
INPUT 1 +

33
LINE4
CLK19

5
N/C
AGND

34
LSYNC4
CLK20

6
N/C
AGND

35
FSYNC4
CLK21

7
N/C
AGND

36
PIXEL4
CLK22

8
AGND
AGND

37
READ4
CLK23

9
N/C
AGND





PL208







DB15M
INGRID SIG
SDSU SIG





1
OFFSET1
DAC-0





2
VRESET
DAC-1





3
HIGH4
DAC-2





4
BIASGATE
DAC-3





5
VDD POWER
DAC-4





6
HIGH3
DAC-5





7
N/C
AGND





8
N/C
AGND





9
N/C
+15v





10
N/C
-15v





11
N/C
AGND





12
N/C
AGND





13
N/C
AGND





14
N/C
AGND





15
N/C
AGND

