# LN2 AUTOMATIC FILLING SYSTEM

# PIPES AND TEMPERATURE SENSORS FOR WHT CASSEGRAIN INSTRUMENTS

# Six instruments can be connected to the LN2 automatic filling system in Cassegrain, ACAM, ISIS, LIRIS, SAURON, PNS, and SHACK HARTMAN.

# CRYOGENIC VALVES

# The system has four cryogenic valves.

# Valve  No 1 for  ISIS Blue and PNSR.

# Valve No 2 for ISIS Red, PNSL and SAURON.

# Valve No 3 for AUXCAM and SHACK HARTMAN.

# Valve No 4 for LIRIS and PNSHa

# LN2 FILLING PIPES

# Tubes from cryogenic valve until the cryostat change in some cases.

# Tube No1 is not changed, is the same for ISIS Blue and PNSR.

# Tube No 2, short pipe for ISIS Red and PNSL.

# Tube No 2, long pipe for Sauron.

# Long tube No. 2 used for SAURON, is the same as the long                            tube No 4 used for PNSHa, with different metal tube end to the cryostat. This tube has two labels, (2 SAURON) and (4 PNSHa).

# Tube No 3 is not changed, always for ACAM and SHACK HARTMAN.

# ACAM

# SHACK HARTMAN

# Tube No 4 short pipe is for LIRIS.

# Tube No 4, long pipe for PNSHa.

# Long tube No 4 used for PNSHa, is the same as the long                            tube No 2 used for SAURON, with different metal tube end to the cryostat. This tube has two labels, (4 PNSHa) and (2 SAURON).

# LN2 TEMPERATURE SENSORS

# The cassegrain LN2  filling system has four temperature sensors.

# Temperature sensor No.1 for ISIS BLUE and PNSR.

# Temperature sensor No. 2 for ISIS RED and PNSL and SAURON.

# Temperature sensor No. 3 for ACAM and SHACK HARTMAN.

# Temperature sensor No. 4 for LIRIS and PNSHa.

# LIRIS

# PNSHa