Packing List for UKIRT spares





19/04/96














1) Mirror support crate inc.


		Facilities card


		DMSC 16 and 17


		CAN card





2) PC CAN card





3) 6 Joucomatic valves





4) Pressure Transducer





5) Software on 3.5” disks





6) Mechanical Ball Joint





7) Pneumatic fittings





8) 26 expanding bolts





9) 4 Multi 60 load cells and leads





10) 4 folders of documentation


