
Spare CAMAC Modules

INT Clip Centre (Stored in rack in Bay 1) 
	Module Type
	Serial
Number
	  Status
	Notes

	DTM4 
	210
	OK
	Dataway Test Module - Tested EJM 2006



	DTM4 
	135
	OK
	Dataway Test Module - Tested EJM 2006



	RGO LP34 
	04319
	OK
	UT MilliSec Gen.- Tested EJM 2006



	RGO ED012 
	001 
	OK
	Pulse generator - Tested EJM 2006



	PR2402 
	037 
	OK
	Parallel I/P register - Tested EJM 2005



	PR2403 
	0101
	OK
	Parallel I/P register - Tested EJM 2005



	OD2407
	257
	OK
	Output Driver - Tested EJM 2007



	RGO 32Bit 

Counter
	01
	OK
	For Inc. encoders - Tested EJM 2006



	RGO 32Bit

Counter
	02
	OK
	For Inc. encoders - Tested EJM 2006



	RGO 32Bit

Counter
	06
	OK
	For Inc. encoders - Tested EJM 2006



	DAC  9085
	182 
	OK
	MultiDAC 12 bit - Tested EJM 2007



	DAC  640VSL
	
	In use
	HYTEC replacement for 9085



	ADC 1232-2 


	
	
	Module needs re-calibrating


	BT6502 
	0199 
	OK
	Branch Terminator - Tested EJM 2005



	CC-A1
	0199 
	OK
	A1 Crate controller - Tested EJM 2005



	CC-A1
	0216
	OK
	A1 Crate controller - Tested EJM 2005



	BR-CPR-2 
	140
	OK
	Branch coupler - Tested EJM 2007



	HYTEC 1386
	002
	OK
	PCI CAMAC CTR - Tested HYTEC 2007



	3340  


	0942
	OK
	RS232 serial interface- Tested EJM 2006


	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Carlos Martin
                                      Page 1                                       Update 
30/12/2008

