
Spare CAMAC Modules

 Located in green cabinet WHT Control Room
	Module Type
	Serial No

	  Status
	Note

	HYTEC  200-S
	001
	OK
	Output driver - 2x24 bit : equivalent to OD48  new module -  Tested  EJM 2007



	HYTEC  200-SR
	001
	OK
	Output Register 2x24 bit:  equivalent to OR48  new module   - Tested EJM 2007


	OD48
	043
	OK
	Output Driver - Tested EJM 2007



	OR48
	038
	OK
	Output Register - Tested EJM 2007



	IR48
	046
	OK
	Input Register -  Tested EJM 2007



	OD2411
	015
	OK
	Duel output driver - Tested EJM 2007



	OD2411
	016
	OK
	Duel output driver - Tested EJM 2008



	PR2402 
	016
	OK
	Parallel I/P register - Tested EJM 2008


	PR2402 
	018
	OK
	Parallel I/P register - Tested EJM 2008


	PR2402 
	038
	OK
	Parallel I/P register - Tested EJM 2008


	PR2402 
	070
	OK
	Parallel I/P register - Tested EJM 2008


	HYTEC  450-4
	1502
	OK
	Diff 24bit I/O register - Tested  EJM 2007



	HYTEC  450-4
	1506
	OK
	Diff 24bit I/O register - Tested  EJM 2007



	HYTEC  450-4
	1515
	OK
	Diff 24bit I/O register - Tested  EJM 2007



	HYTEC  450-4
	1516
	OK
	Diff 24bit I/O register - Tested  EJM 2007



	HYTEC  450-4
	1534
	OK
	Diff 24bit I/O register - Tested  EJM 2007




	HYTEC  450-4
	1537
	OK
	Diff 24bit I/O register – Tested  EJM 2007



	RGO 32Bit

Counter
	04 
	OK
	Inc encoder up/down counter 

Tested - EJM 2007



	RGO 32Bit

Counter
	08
	OK
	Modified for tape encoder 

Tested - EJM 2007



	RGO 32Bit

Counter
	09
	OK
	Modified for tape encoder 

Tested - EJM 2007



	RGO 32Bit

Counter
	30
	OK
	Inc encoder up/down counter 

Tested - EJM 2007



	RGO LP34
	6849
	OK
	Millisecond generator

Tested - Olivier 2003



	RGO LP37  
	932 
	OK
	Fan out module 

Tested - Olivier 2003



	HYTEC 1386
	117 
	OK
	PCI CAMAC Controller

Tested - Olivier 2003



	HYTEC 1386
	118
	OK
	PCI CAMAC Controller

Tested - HYTEC 2007



	HYTEC 

ADC 1232-2 


	205 
	OK
	Analogue to digital converter 

Tested -  EJM 2008



	MX-CTR-3 
	01049
	OK
	Executive controller CTR

Tested - CMP 1991



	SC-TST-1 
	02465
	OK
	CAMAC crate test controller  

Tested  -  EJM 2008



	WGR-241
	0168
	OK
	24bit Word Generator

Tested - EJM 2008



	WGR-241
	0170 
	OK
	24 bit Word Generator 

Tested - EJM 2008



	DTM4 
	0885
	OK
	Dataway Test Module

Tested - Olivier 2003




	9554 (DTM4)
	2462
	OK
	Dataway Test Module

Tested - EJM 2008



	CC2089 
	109
	OK
	Type A2 Crate Controller 

Tested - EJM 2008



	CC-A2 
	0096
	OK
	Type A2 Crate Controller

Tested - EJM 2008



	CC2405 
	166
	OK
	Crate Controller

Tested - EJM 2008



	BT 6502 
	01044
	OK
	Branch Terminator - Tested EJM 2007



	BT 6502
	02784
	OK
	Branch Terminator - Tested CMP 2007



	BR-CPR 4-1 
	02764
	OK
	Branch Coupler - Tested EJM 2007



	BR-CPR 4-1 
	02786
	OK
	Branch Coupler - Tested EJM 2007



	RGO ED011


	001
	OK
	NAS DS/CWS Encoder fan out module  

Tested – EJM 2008 (original)



	RGO ED011


	002
	In use
	NAS DS/CWS Encoder fan out module  

Fabricated and tested – EJM 2008



	RGO ED012 


	007 
	OK
	Pulse generator -  Tested EJM 2006



	RGO ED012
	008
	OK
	Pulse generator -  Tested EJM 2008



	RGO ED013


	001
	In use
	AZ/ALT/TT Encoder fan out module.

Tested – EJM 2008



	RGO ED013


	002
	
	AZ/ALT/TT Encoder fan out module

In construction

	
	
	
	

	
	
	
	

	
	
	
	


	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


John Mills
                                      Page 1                                       Update 
30/12/2008

