[image: image1.png][‘II.T*




Checklist

	Date:
	

	
	
	AO DE:



	Preliminaries:

	Humidifiers and humidity checked:
	

	All 9 optical covers removed:
	

	FISBA flattening:

	FISBA flat file name:
	

	Pick-off probe position (Light-path page):
	x:                         y:

	Spot separation (WFS Display Page/Alignment):
	x:                         y:

	Optical path (ENG GUI’s/Mechanism DM/NAOMI Systems/WFS Components):

	Fore-optics stage position -demand: 
	

	Fore-optics stage position -current:
	

	Camera position -demand(CCD39=210,CCD60=172)
	

	Camera position –current:
	

	White light flattening:

	White light flat file name:
	

	Number of measurements:
	

	Gradients:
	x:                         y:

	AG7 simplexing: 

	AG7 simplex file name:
	

	Merit function for AG7 simplex:
	

	INGRID simplexing:

	INGRID simplex file name:
	

	Merit function for INGRID simplex:
	

	GLAS: 

	LTCS checked:
	

	BLT position checked:
	x:               y:                z:

	Beam Dump Engineering GUI checked:
	

	AO MIMIC:

	AO MIMIC checked:
	


	Comments:

	


Version 2.0                                                                                         10th Febr 2009

The source of this document can be found at:

~eng/public_html/ops/wht/GLASCheckList.pdf

