

Checklist

	Date:
	

	
	
	AO DE:



	Humidifiers and humidity checked
	

	All 9 optical covers removed
	

	
	

	FISBA flat file name
	

	Camera position (CCD39=210, CCD60=172)
	

	Pick-off probe position
	x:
	
	y:
	

	Fore-optics stage position (nominal -0.6)
	

	Strain gauge gain (0.8)
	

	Spot separation
	x:
	
	y:
	

	
	

	White light flat file name
	

	Number of measurements
	

	Gradients 
	x:
	
	y:
	

	
	

	AG7 simplex file name
	

	Merit function for AG7 simplex
	

	
	

	INGRID simplex file name
	

	Merit function for INGRID simplex
	

	
	

	LTCS checked
	

	BLT position checked
	x:
	
	y:
	
	z:
	

	AO MIMIC checked
	

	Beam Dump Engineering GUI checked
	

	
	


	Comments:

	


Version 1.0                                                                                         16th July 2008

The source of this document can be found at:
~eng/public_html/ops/wht/GLASCheckList.pdf

