Royal Observatory, Edinburgh

Blackford Hill

Edinburgh, EH9 3HJ

United Kingdom

Telephone:	+44 (0)131	668 8100

Facsimile:		668 8264 (Central)

662 1668 (West Wing)

668 1130 (Villas)

662 1654 (Directorate)

Email:	initial.surname@roe.ac.uk

WWW: 	http://www.roe.ac.uk/

ICD 1.0 version for NAOMI WFS Camera

Part three- Pre-amp circuit, Cabling and Grounding

Xiaofeng Gao

17 January, 2000

Contents list

1.Pre-amp circuit  inside  the CCD header	3

2. Pre-amp circuit PCB layout	3

3. Ground arrangement for the controller	3

4. Cabling for video bias and clock from SDSU controller to the CCD header	3

5. The new set and old set video cables connection inside SDSU controller	4

6. Appendix	4

# 1.Pre-amp circuit  inside  the CCD header

Four channel single input and differential  output pre_amp circuit has been built for NAOMI CCD header. There is also a receiver board built for SDSU controller to enable it to convert the differential signal into single-ended signal.  At present system, the pre-amp circuit and the receiver circuit are not used, there are straight  line sold on board to pass the circuit.

(/tmp/in/input.doc ).  See enclosed diagram for details (naomipre.prj -Protel file)

# 2. Pre-amp circuit PCB layout

there are different  layout for master and  slave CCD respectively.

(/tmp/in/input.doc).

See enclosed diagram for details. (bdlayout.vsd-visio file, J1525ch3.pdf-acrobat file)

# 3. Ground arrangement for the controller

(/tmp/in/input.doc). See enclosed diagram for details. (naomicable.xls- Excel file)

# 4. Cabling for video bias and clock from SDSU controller to the CCD header

(/tmp/in/input.doc).  See enclosed diagram for details.(naomicable.xls- Excel file)

# 5. The new set and old set video cables connection inside SDSU controller

1). The board layout inside SDSU controller

Timing board

Clock board

Video board2

Video board1

SDSU Controller

This side is  back panel to power cable

This side is  front panel to video/ clk cables

2). The SMA connectors  on video board                                              The receiver board for old set cable

TR

TOP

TL

BR

SMC2

SMC3

SMC4

BL

SMC1

BOTTOM

3).  The 4 black coaxial cables connect to:

|  | TR | TL | BR | BL |
| --- | --- | --- | --- | --- |
| New set | A1 | A3 | A5 | A7 |
| Old set | SMC4 | SMC3 | SMC2 | SMC1 |
| CCD output (pre_amp board output) | OS4 (outD1) | OS3 (OutC1) | OS2(OutB1) | OS1(OutA1) |

# 6. Appendix

Circuit board and cabling for NAOMI Camera ==controller

1).	Pre-amp board : ONE

put 	R1,R2,R3,R4,R5,R6,R7,R8,R9,R10,R11,R12,R13,R14,R15,R17 (1M)

c1,c2,c3,c4,c5,c6   (.1uF)

J6,J7,J8,J9,J10,J11,J12,J13		on

sold wire from Pad to Pad( choose as thick as possible)

CA5 to  RA6, RA7 to RA2

CB5 to  RB6, RB7 to RB2

RA6

CA5

CC5 to  RC6, RC7 to RC2

CD5 to  RD6, RD7 to RD2

RA7

RA2

doc: Bill of Material for M:\ATC\naomi\schemtic\Naomipre.Prj

components for pre-amp board

2).	Receiver board :   ONE

Put	P1 (D50) on, another D9 on see me about that

sold wire from Pad to Pad( choose as thick as possible)

RA1 to  TP2

RB1 to  TP4

RA1

TP2

RC1 to  TP6

RD1  to TP8

3).	Cabling :         one set

see   naomicable1.xls

Cabling for video and bias

one D50F      ==  AMP26 cable skt (strain relief, RS 450-556, 62GB-585-126S)

one IDC26 skt ==  AMP26 chassis plug()

four SMA plug ==  SMB plug (coaxial cable RG174)

200mm

one  D25F skt   ==  D9F plus header housing

one  D25F skt   ==  the same D9F

Cabling for clock

One D37F    ==  AMP19 chassis skt

One AMP19 cable plug (strain relief )====

AMP19 cable skt (strain relief, RS 450-540, 62GB-585-14-19S)

One AMP19 chassis plug == IDC26 skt