## Sheet1
AUXCAM
44-82 Deep Depletion | Compatible with external EEV cable
These are the voltages you can expect on the front panel of the SDSU controller and the 20-41
cryostat connector
CCD | flanged |  | SDSU controller |  | Voltage
ZIF | 20-41 | Function | Mixed D connector | Bias | Clock Hi | Clock Lo
E2 | F | SWL | 1 |  | 3 | -8
F3 | j | Dump Gate | 3 |  | 4 | -7
E3 | E | Phi-R Left | 4 |  | 3 | -7
E4 | J | H2L | 6 |  | 2 | -8
D4 | G | H1L | 5 |  | 2 | -8
F6 | L | H3 | 7 |  | 2 | -8
D5 | R | H1R | 6 |  | 2 | -8
E5 | N | H2R | 5 |  | 2 | -8
E6 | T | Phi-R Right | 4 |  | 3 | -7
E7 | S | SWR | 1 |  | 3 | -8
D3,D6 | m | OG1 | 2 | -4.5
E8 | K | V2 | 9 |  | 1 | -8
D8 | g | V1 | 8 |  | 1 | -8
F8 | M | V3 | 17 |  | 1 | -8
A1,A8,C1,C8,F2,F7 | Y | VSS | 12 | 0
C2 | C | RD | 15 | 10
D2,D7 | D | OG2 | 16 | -3.5
C7 | V | RD | 15 | 10
B2,B7 | q | Dump Drain | 14 | 16
B1 | c | OD Left | 13 | 22
A2 | a | OS Left | A2
A7 | W | OS Right | A3
B8 | U | OD Right | 11 | 22
|  |  | 10 | 0