## Sheet1
EEV 12 Voltages
These are the voltages you can expect on the front panel of the SDSU controller and the 20-41
cryostat connector
CCD | flanged |  | SDSU controller |  | Voltage
21 way micro-D | 20-41 | Function | Mixed D connector | Bias | Clock Hi | Clock Lo
1 | F | SWL | 1 |  | 1.5 | -8
2 | j | Dump Gate | 3 |  | 3 | -9
3 | E | Phi-R Left | 4 |  | 3 | -6
4 | J | H2L | 6 |  | 1.5 | -8
5 | G | H1L | 5 |  | 1.5 | -8
6 | L | H3 | 7 |  | 1.5 | -8
7 | R | H1R | 6 |  | 1.5 | -8
8 | N | H2R | 5 |  | 1.5 | -8
9 | T | Phi-R Right | 4 |  | 3 | -6
10 | j | Dump Gate | 3 |  | 3 | -9
11 | S | SWR | 1 |  | 1.5 | -8
12 | m | OG1 | 2 | -5
13 | Y | VSS | 12 | 0
14 | K | V2 | 9 |  | 3.5 | -9
15 | g | V1 | 8 |  | 3.5 | -9
16 | M | V3 | 17 |  | 3.5 | -9
17 | n/c
18 | n/c
19 | n/c
20 | Y | VSS | 12 | 0
21 | m | OG1 | 2 | -5
CCD
15 way micro-D
1 | q | Dump Drain | 14 | 13
2 | C | RD | 15 | 10.25
3 | D | OG2 | 16 | -4
4 | n/c
5 | n/c
6 | D | OG2 | 16 | -4
7 | V | RD | 15 | 10.25
8 | q | Dump Drain | 14 | 13
9 | c | OD Left | 13 | 20
10 | a | OS Left | A2
11 | Y | VSS | 12 | 0
12 | Y | VSS | 12 | 0
13 | Y | VSS | 12 | 0
14 | W | OS Right | A3
15 | U | OD Right | 11 | 20
|  |  | 10 | 0