This note tends to help user to understand the SDSU’s DSP source code and the timing board   .......................................................................X.Gao, 11-07-97

asm56000 -b -l -g -a  ***.asm  --- assembly command

The DSP assembly source code  is very similar to those of  Micro-controller (micro-processor) except that there are three memory locations instead of one and the source code can be written using overlay algorithm which might be new to some users.

Overlay algorithm in Motorola 24 bit DSP assembly means that when we write the DSP software, we are able to specify which memory space is for running the software (runtime space) and which memory space is for storing the software (load space).  This is done in ORG Directive (definition of terms in DSP assembler reference manual).  A simple complete source code assembled is illustrated here:

Motorola DSP56000 Assembler  Version 5.3.2   97-07-15  16:26:38  demo24_1.asm  Page 1

1                            page    132,,,3

2                  ;------------------------------------

3                  ; DSP56000 Demonstration Program

4                  ;------------------------------------

5                  ;

6                  ;  The program does the following:

7                  ;    1. clear accumulator A

8                  ;    2. increment A

9                  ;    3. save A (A2, A1, AND A0)

10                 ;    4. goto 2.

11                 ;    5. end of program

12                 ;

13                 ;------------------------------------

14

15  X:0000 P:4200                   org     x:0,P:$4200  ; Data block starts at zero

16  X:0000 P:4200         VALUE_A2  dc      0            ; define storage for A2

17  X:0001 P:4201         VALUE_A1  dc      0            ; define storage for A1

18  X:0002 P:4202         VALUE_A0  dc      0            ; define storage for A0

19                        ;

20                        ;--------------------------------

21                        ;

22  P:0000 P:4000                   org     p:$0000,P:$4000  ; Program block starts at zero

23  P:0000 P:4000 0AF080  RESET     jmp     START            ; Skip over interrupt vectors

000040

24  P:0040 P:4040                   org     p:$0040,P:$4040

25  P:0040 P:4040 200013  START     clr     a                ; Clear accumulator A

26  P:0041 P:4041 000008  LOOP      inc     a                ; Increment A by 1

27  P:0042 P:4042 520000            move    a2,x:VALUE_A2    ; Save A2

28  P:0043 P:4043 540100            move    a1,x:VALUE_A1    ; Save A1

29  P:0044 P:4044 500200            move    a0,x:VALUE_A0    ; Save A0

30  P:0045 P:4045 0C0041            jmp     LOOP             ; Loop to increment again

31                                  end

0    Errors

0    Warnings

in line 15, ORG X:$0,P:$4200 indicates that the constants (VALUE_A0. etc)will be stored in P memory starting at $4200, later transferred in DSP X memory at $0, ...before running time.   The  similar is in line 24, where ORG P:$0040,P:$4040 indicates that the instructions below will be stored in P memory starting at $4040, later transferred in DSP P memory at $0040, ...before running time.  Just bear in mind that the P:$0200 to P:$FFFF refers to the external memory, i.e. DSP software is stored in external memory.

The  Motorola 24-bit DSP56k doesn’t have  user EPROM version ( DSP56000 is factory programmed with user software), DSP56001/56002 are designed to load its program ad data from an external source (either memory or host interface or SCI)  into the on-chip: 512 words Program  memory (RAM), 256 words X data memory (RAM) and 256 words Y data memory (RAM).   Program RAM provides a method of developing code efficiently, and programs can be changed dynamically, allowing efficient overlaying of DSP software algorithm.  In this way, the on-chip program RAM operates as a fixed cache, thereby minimizing contention with accesses to external data memory space. (DSP56000/DSP56001 manual, p3-8).

SDSU controller uses DSP56002 with a 8-bit external EEPROM memory to store its boot program and part of application programs.  Once the DSP leaves hardware reset, it will automatically-- actually depending on external peripheral circuit PAL which has set operating mode=1-- load  (512  words) the program from the EEPROM into DSP P memory, X memory and Y memory, then start to execute the program from P:$0000.  After the boot procedure, the application program  No1 and date are loaded from the same EEPROM (in different location) into the DSP’s P or X or Y memory.

As the DSP memory is 24 bit while the external EEPROM is 8 bit, there is converting process involved in reading/writing the EEPROM.  If the DSP is going to write a 24 bit data to the EEPROM, the 24-bit data has to be broken into low, mid and high bytes and written into three memory locations in the EEPROM.  On contrast, if the DSP is going to read a data (has to be 24 bit) from the EEPROM,  it will read low, mid and high bytes from three consecutive memory locations in the EEPROM, combine them into 24 bit and store in the DSP .

From the simple example listed above we can see that although we can specify the memory locations for storing the instructions (software), the DSP assembler treats the address locations as 24-bits (i.e. one address holds three bytes data).  So, the object code or HEX file(like those in most microcontroller)  generated by the DSP assembler can not be down loaded directly to program the 8-bit external EEPROM.  Motorola has developed a software --Srec-- to do the conversion for 8-bit EEPROM program (see the included file: S-rcord.doc ).  The function of  the Srec is to break the 24 bit data into three bytes, multiply the address by 3 and put low ,mid and high bytes in the consecutive address locations. For instance, in  the above example line 25

25  P:0040 P:4040 200013  START clr a   ; Clear accumulator A

the P:4040 200013  will be converted into P:C0C0 13; P:C0C1 00 and P:C0C2 20.

Therefore, when we read the source code org P:$0000,P:$4000  in the above example, we know that the source codes are stored in the external 8-bit EEPROM beginning at $C000, later transferred into DSP P:$0000,... and be executed.

The physical EEPROM address depends on the hardware circuit arrangement.  The SDSU controller generation II assigns the 8-bit EEPROM physical address $0000 as DSP external memory address $8000. (i.e. from DSP point of view) in the timing board

A simple memory mapping is illustrated in Figure1.

S-record address

8-bits

$C600

P:mem

$4200

$C000

$4000

EEPROM physical

address, 8-bits

$4600

$4000

X:mem

Srec -bs

S-record address

-$8000

DSP mem address

24-bits

boot

P:mem

Boot

X:mem

Figure 1 the memory mapping illustration for the SDSU II Timing board

When reading the SDSU DSP boot source code  of any address point related to external memory, we have to multiply the address by 3  and subtract $8000 to get the EEPROM physical address.  Hence, the address of $4000 will correspond to the external memory address of $C000 from the DSP point of view, but it will correspond to the physical address of $4000 in the external EEPROM.   However, when reading a   application source code  of any address point related to external memory, we only multiply the address by 3  but not subtract $8000 to get the EEPROM physical address.( see SDSU DSP SOFTWARE document, 3 of 8, 05/13/97).

Once we understand this, it will be very easy to read the SDSU DSP source code.

TABLE 1 lists the memory mapping for the timboot. (from the .asm I got). SDSU is updating their source codes. So you might find some detail listed not be right.

| TABLE 1 the memory mapping for the timing board |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | EEPROM physical address (load address) | external memory address (load address) |  | DSP runtime address |
| boot P mem code | $4000~$45FF | $C000~$C5FF |  | P:$0000~P:$01FF |
| boot X mem code | $4600~$48FF | $C600~$C8FF |  | X:$0000~X:$00FF |
| command table | $0600~$065F | $8600~$865F |  | X:$0080~X:$009F |
| waveform table | $0660~$0959 | $8660~$8959 |  | Y:$0000~Y:$00FD |
| application #1 | $0300~$05FF | $8300~$85FF |  | P:$0100~P:$01FF |

Timing board

1). Communication with host over fiber: use scrambled NRZ protocol

Timing board receives command/data from Host through fiber optic at a speed of 4 Mbits (default)

Serial to parallel

PAL

FIFO

D0-D7

fiber optic receiver 4Mbit

data format:

33 bits: 1 start bit, 8 bits for preamble and 24 bits for data

start

1 bit

Preamble

8 bits

data

24  bits

header identification:

source byte,destination byte, number of words in string

byte=0, host; =1 VME; =2 Timing;=3 Utility,

=$AC   data ==> FIFO

=$53,  reset DSP

others nothing happen

the host/sender always sends header first, then commands/data (assume that the preamble is done in software, then $000304  ‘WRM’ $100078 $000000, is for host computer to write a NOP instruction to the Utility baord P:mem at location of $78. the $1 in $100078 of the ‘WRM’ instructiom is to updata P:mem.  SDSU ‘User’s Manual, 1-11, system-Updateed may 12,1994 )  There is a change in the communication data format: For compatibilty with both Genneration I host interface boards and the newer Gen II boards, the jumps JP14 and JP15 are included.  One jump for the serial receiver to processs 24-bit data words for Gen I system or 32-bit words for Gen II system.  Another for serial transmitter to generate 24-bit serial word for Gen I system either 32-bit or 16-bit words for GenII system depending on whether inage data or command data is being transmitted--. “Timing board, pg#6, Updated Jan.12,1997 ”.     For Gen II timing board, the received 24-bit data is read by DSP three time from FIFO (three one byte-->> one word). But in Gen I one , the received 24-bit data is read by DSP directly at once, so care must be exerised--Timing board, pg#2, Updated  Jan.12,1997.

The replies from Gen II Timing board to host are transmitted with the same 1 start bit, 8 bits for ?? and 24 bits for data protocol, but image data is transmited as 1 start bit + 16 bits  data to improve the data link bandwith --“ CCD controller requirements for ground-base optical astronomy”  Robert Leach, section 4.1)

2). Bias setting

The DSP in the timing board writes 24 bits word to video/clock boards through SSI to set DC bias and clock high (low) voltages , with the DSP’s H0 bit =‘0’.  The data format is:

23       20

19        16

15      14

13

12

11                       0

DAC volts

N/U

DAC or MUX

which output (A,B,C,or D)  in  DAC

which DAC

which board

there are no DSP on video and clock boards. The data sent from the timing board (using  SSI ) is interpreted by PAL chips on video/clock boards.

The equation for the DAC output (Analog Device: data sheet DCA8420 )

Vout=Vref−+(Vref+−Vref−)4096∗XXXX

address for 4 outputs :   A:00; B:01;

C:10; D:11

where XXXX is the decimal value of the 12 digital bits, Vref- is the negative reference voltage while Vref+ is the positive reference voltage for DAC.

The real DC bias level and clock high(low) voltages are buffered with gain 1,2,.. etc.  See circuit diagrams for details.  Thus, when choosing the 12 bit DAC values for each DAC, we have to consider the buffer gains individually.

3).Sequence generation

The sequences are generated by the DSP in the timing board writing several 24 bits words to a special address X:$FF80 (WRSS). The data format is

23

22                16

15      12

11                                    0

state of each of 12 analog switch

board select

delay value

=1 coarse delay (160ns)

=0    fine delay  (20ns)

The  16 bits of D15~D0 are latched on the timing board (SS15~SS0), passed through backplane to video/clock boards.  The SS11~SS0 are also latched on video/clock boards by PALs on those boards (the latch signal is generated by TIM_WRSS and SS15~SS12, it may differ in different boards).   The delay value embedded in the high byte of the 24 bits words is sent to a PAL chip on the timing board, which will generate a delay signal on bus wait* pin of the DSP , the DSP will add wait states in current external memory instruction cycle until the PAL release the DSP to finish the external memory cycle (DSP56002 User’s Manual, P4-13).

Look at  an example.

move 	$0A0FFF,X:$FF80

move	$810000,X:$FF80

move	$000FFF,X:$FF80

once the DSP writes $0A0FFF to X:$FF80 (external memory), the PAL will insert a delay and the DSP can not go to the second instruction until  10*20ns later when the PAL release it.  It is similar for  the second instruction that once the DSP sends $810000 to X:$FF80, the DSP can not go to the third instruction until  1*160ns later when the PAL release it.  This sort of delay can also be achieved by software.  But, software delay can only be multi-instruction cycle (one instruction cycle equals to two clock cycles) while the delay by the PAL (external circuit) can be multi-clock cycles. Another disadvantage of using software delay is more memory space required.  By using the hardware PAL delay, the SDSU controller can generate waveform sequence in the time division of 40ns in samllest or  of  one clock cycle*N +60ns. [assume, 20ns for the  DSP clock of  50 Mhz]. (see DSP56002 manual P4-13, SDSU Timing board Pg#3 Jan,12,1997, and DSP course note P3-27, for explanation ).

4). Pixel read out

The Pixel  data can be read into the DSP in the timing board by RDAD: move Y:$FF**,A,  over the backplane lines AD15~AD0.  The ** =$A0 to $BF, represents one of 32 A/Ds.  The data can then be sent to host at 50 Mbits through a parallel-to-serial PAL to fiber optic transmitter by WRFO: move A,Y:$FFC0.   To speed up the pixel data transfer an pixel data path is implemented by the SDSU controller that bypass the DSP so that the pixel data transfer to host can take place at the same time as sequence routine.  This is enabled by writing to X:$FF80 ( SDSU document says Y:$FF80, but in their source code “CLOCK” it is X:$FF80) with D12-D15=$F in the 24 bit command data (also WW line=1).  It can also read mutli A/D data  with one single instruction (in the 24 bit command: D4~D0  represents the staring A/D while D9~D5 represents the ending A/D).

In bypassing  mode, the series transmit PAL (U12) generates ADADR4~ADADR0  that are latched as TIM_ADA4~TIM_ADA0 to video/clock boards over  the backplane. The PAL on the video board combined these TIM_ADA4~TIM_ADA0  with other data, asserts RD_AD_* (* represents  which  A/D is selected) to release the data on the AD15~AD0 lines for the serial transmitter (U17) to send to the host.  In multi A/D readout, each A/D value is read by the serial transmitter and sent over the fiber optic link, at the end of which the PAL reads the next A/D value until all of them are read  (“ CCD controller requirements for ground-base optical astronomy”  Robert Leach, section 4.1)   For example, move  $00F041 (SXMIT ) to X:$FF80, will start to transmit No. 1(D4~D0) A/D data and  No.2 (D9~D5) A/D data to host.

It is important to remember that initiating multi A/D readout only needs one single DSP command, and these readouts are in sequence (0,1,2,3,...).not in parallel.  It is also important to realize that all these A/D readout occur in parallel with sequence routine (clock timing operation).  So, the multi A/D readout would not affect the pixel readout speed if all A/D data is transmitted within the routine.

Writing command data(SXMIT) to X:$FF80 will not change  switch states latch D_FF on video/clock boards, this needs to be noted in sequence routine time diagram.

The switch states on an IR video board (U5)

| SS6=D6 |  |  |
| --- | --- | --- |
| SS5=D5 | XFER-B | rising edge latch A/D-B to D-FF |
| SS4=D4 | A/D-B | rising edge trig A/D-B convert |
| SS3=D3 |  |  |
| SS2=D2 |  |  |
| SS1=D1 | XFER-A | rising edge latch A/D-A to D-FF |
| SS0=D0 | A/D-A | rising edge trig A/D-A convert |

The switch states on a CCD video board (U3)

| SS6=D6 | XFER | rising edge latch A/D to D-FF |
| --- | --- | --- |
| SS5=D5 | A/D | rising edge trig A/D convert |
| SS4=D4 | INTEG | 0: connect integrator to input |
| SS3=D3 | POL+ | 0:invert buffer on |
| SS2=D2 | POL- | 0: non-invert buffer on |
| SS1=D1 | DC_REST | 0: DC claim to GND |
| SS0=D0 | RESET | 0: reset integrator C |

Clock subroutine in timEEV.asm

;  Core subroutine for clocking out CCD charge

CLOCK   MOVE    Y:(R0)+,X0              ; # of waveform entries

MOVE    Y:(R0)+,A               ; Start the pipeline

DO      X0,CLK1                 ; Repeat X0 times

MOVE    A,X:(R6) Y:(R0)+,A      ; Send out the waveform

CLK1

MOVE    A,X:(R6)                ; Flush out the pipeline

RTS                             ; Return from subroutine

R6=$FF80, R0 is the address pointer to  a sequence routine entry.

assume R0=$SERIAL_IDLE, then, the sequence routine is :

;  Test New Rev. 2C CCD video board 1-30-97 A/D 0

;	     xfer, A/D, integ, Pol+, Pol-, DCrestore, rst   1 => switch open

SERIAL_IDLE

DC	SSKIP-SERIAL_IDLE-2

DC	VIDEO+$000000+%1110100	; Change nearly everything

DC	BD2+SI1L+SI2H+SI3L+RL+R1L+R2H+R3L

DC	BD2+SI1L+SI2H+SI3L+RL+R1L+R2H+R3H

DC	BD2+SI1L+SI2H+SI3L+RL+R1L+R2L+R3H

DC	BD2+SI1L+SI2H+SI3L+RL+R1H+R2L+R3H

;	DC	SXMIT			; Transmit A/D data to host

DC	VIDEO+$000000+%1110111	; Stop resetting integrator

DC	VIDEO+$2e0000+%0000111	; Integrate for 1 microsec

DC	VIDEO+$000000+%0011011	; Stop Integrate

DC	BD2+SI1L+SI2H+SI3L+RL+R1H+R2L+R3L

DC	VIDEO+$000000+%0011011	; Delay for signal to settle

DC	VIDEO+$000000+%0011011	; Delay for signal to settle

DC	VIDEO+$2c0000+%0001011	; Integrate for another microsec

DC	VIDEO+$000000+%0001011	; Continue integrating

DC	VIDEO+$000000+%0011010	; Stop integrate, A/D is sampling

; Serial clocking waveform for skipping

SSKIP   DC	DACS-SSKIP-2

the time diagram of the serial-ilde routine is shown in Figure 2.

the rising edge of XFER will latch N-2  A/D output to D-FF (74ABT574), clk pin of ABT574

the rising edge of A/D will trig the A/D to convert  N data, while N-2 data already on output,  ADS937 pipeline action

during  the A/D  transmit , the latched data will be  released  to AD lines on backplane,OC pin of ABT574

A/D

XFER

RD_AD_*

XFER

A/D

INTEG

POL+

POL-

DC_REST

RESET

1 us

1 us

VP1=SI1

H3=R2

H1=R1

REST=R

VP3=SI3

VP2=SI2

H2=R3

charge transfer:

H3->H2(SW)->H1

dump charge

REF-INT

SIG-INT

A/D convert

A/D transmit

Figure 2 The time diagram of the serial-ilde routine. Time division=40ns unless otherwise stated.