center coordinates approx. 477x 520y .. should be 512,512

offset appears to be -37x +8y (-684x, +148y microns).

orientation is : using front of instrument view naomi mode as reference:

left is -ve, down is -ve. array is sitting right and down.

Image in ximtool and using ultradas is as reference.

for rotation : Lower left piinhole is at approx. 97x 160y.

shows array rotation error is 1.55 deg. ccw.

tilt images are r484399 to r484402 in /obsdata/whtb/20020308

X      Y       Center      X      Y

Bot Left  3.23   3.96               2.73    3.10   r484399

Bot Right 1.59   2.10               2.62    2.72   r484400

Top Right 1.55   1.77               2.90    2.93   r484401

Top Left  2.22   2.90               2.11    2.80   r484402