## Sheet1
Annotation | Time |  | quadrant 1 |  |  | quadrant 2 |  |  | quadrant 3 |  |  | quadrant 4 |  | Cryostat |  | Temperatures |  |  | Raw A/D Values |  |  | Raw Volts |  |  | Calculated Temps |  |  |  | Measured Temperatures |  | Det temp | temp/offset | CCC temp | Casting temp
|  | V Offset | mean | std dev | V Offset | mean | std dev | V Offset | mean | std dev | V Offset | mean | std dev | pressure | amb. Temp | Detector | CCC | Casting | 0C | 0D | 0E | Detector | CCC | Casting | Detector | CCC | Casting | Detector | CCC | Casting | difference | curve | difference | Difference
| 15:48 | 1.85 | 30516 | 156 | 1.912 | 30700 | 156 | 2.068 | 29604 | 168 | 2.168 | 29863 | 162 | 0.00082 | 297 | 48e8c | 4c24e | 4af46 | 9d6 | 9fd | 9c5 | 0.68855 | 0.74569 | 0.66365 | 307.392 | 305.883 | 307.1025 | 298.636 | 311.886 | 307.014 | 8.756 | 30571.423 | -6.003 | 0.088544
| 15:58 |  | 30588 | 151 |  | 30771 | 164 |  | 29548 | 178 |  | 29746 | 182 | 0.00081 | 298 | 48e8c | 4c24e | 4aeba | 9d6 | 9fd | 9c6 | 0.68855 | 0.74569 | 0.66511 | 307.392 | 305.883 | 306.9452 | 298.636 | 311.886 | 306.874 | 8.756 | 30571.423 | -6.003 | 0.071229
first LN2 fill | 16:08 |  | 30503 | 159 |  | 30680 | 162 |  | 29565 | 188 |  | 29794 | 190 | 4.8e-05 | 298 | 48e8c | 4c1b1 | 4ae2d | 9d6 | 9fe | 9c7 | 0.68855 | 0.74715 | 0.66658 | 307.392 | 305.7108 | 306.7876 | 298.636 | 311.729 | 306.733 | 8.756 | 30571.423 | -6.0182 | 0.054647
| 16:19 |  | 30393 | 163 |  | 30566 | 171 |  | 29423 | 174 |  | 29683 | 158 | 2.7e-05 | 299 | 4886c | 4bbae | 46a08 | 9e1 | a08 | a38 | 0.70466 | 0.7618 | 0.83212 | 305.5971 | 303.974 | 287.2667 | 297.068 | 310.19 | 289.288 | 8.5291 | 30337.399 | -6.216 | -2.0213
Second LN2 fill | 16:29 |  | 29814 | 162 |  | 30015 | 154 |  | 28817 | 173 |  | 29092 | 164 | 2.3e-05 | 299 | 47950 | 4b2fc | 411e2 | 9fb | a16 | aaf | 0.74276 | 0.78231 | 1.0065 | 301.2267 | 301.4977 | 263.0356 | 293.2 | 307.964 | 266.722 | 8.0267 | 29760.1 | -6.4663 | -3.6864
| 16:39 |  | 29163 | 157 |  | 29284 | 182 |  | 28082 | 173 |  | 28371 | 168 | 1.9e-05 | 299 | 464e1 | 4a8bc | 3bdcf | a1c | a26 | b10 | 0.7911 | 0.80575 | 1.1486 | 295.4205 | 298.6038 | 240.4962 | 287.969 | 305.34 | 245.199 | 7.4515 | 28979.3733 | -6.7362 | -4.7028
| 16:49 |  | 28479 | 183 |  | 28579 | 172 |  | 27306 | 187 |  | 27556 | 194 | 1.7e-05 | 299 | 44c9a | 49cd0 | 36f2b | a41 | a38 | b61 | 0.8453 | 0.83212 | 1.2672 | 288.5659 | 295.2667 | 219.7561 | 281.754 | 302.288 | 225.067 | 6.8119 | 28051.7845 | -7.0213 | -5.3109
Third LN2 fill | 16:59 |  | 27749 | 162 |  | 27559 | 181 |  | 26322 | 187 |  | 26715 | 193 | 1.7e-05 | 299 | 43338 | 49136 | 34bac | a65 | a49 | b83 | 0.89804 | 0.85703 | 1.317 | 281.5468 | 292.0359 | 210.5301 | 275.256 | 299.318 | 215.98 | 6.2908 | 27081.958 | -7.2821 | -5.4499
| 17:09 |  | 26741 | 190 |  | 26505 | 183 |  | 25149 | 183 |  | 25614 | 208 | 1.4e-05 | 299 | 41957 | 48544 | 32189 | a88 | a5a | baa | 0.94932 | 0.88193 | 1.3742 | 274.3921 | 288.7281 | 199.5685 | 268.631 | 296.26 | 205.193 | 5.7611 | 26093.1767 | -7.5319 | -5.6245
| 17:19 |  | 25090 | 212 |  | 24563 | 201 |  | 23039 | 211 |  | 23613 | 219 | 1.4e-05 | 299 | 3fdc1 | 477ba | 2f46e | aab | a6d | bd2 | 1.0006 | 0.90977 | 1.4328 | 266.9113 | 284.9402 | 187.9053 | 261.569 | 292.794 | 193.646 | 5.3423 | 25039.1732 | -7.8538 | -5.7407
| 17:30 |  | 22586 | 214 |  | 21955 | 223 |  | 20546 | 227 |  | 21167 | 270 | 1.4e-05 | 299 | 3e0b6 | 46985 | 2d00c | ace | a80 | bf1 | 1.0519 | 0.9376 | 1.4782 | 259.1046 | 281.0562 | 178.5735 | 254.134 | 289.157 | 184.332 | 4.9706 | 23929.4995 | -8.1008 | -5.7585
Fourth LN2 fill | 17:40 |  | 20677 | 191 |  | 20206 | 200 |  | 18996 | 197 |  | 19624 | 258 | 1.5e-05 | 299 | 3c36d | 45bac | 2bcd0 | af0 | a92 | c01 | 1.1017 | 0.96397 | 1.5016 | 251.2087 | 277.288 | 173.657 | 246.637 | 285.612 | 179.408 | 4.5717 | 22810.5723 | -8.324 | -5.751
| 17:50 |  | 19617 | 227 |  | 19217 | 200 |  | 18090 | 192 |  | 18727 | 200 | 1.4e-05 | 299 | 3a751 | 44db7 | 2a946 | b0f | aa4 | c11 | 1.1471 | 0.99034 | 1.5251 | 243.7414 | 273.4336 | 168.6723 | 239.441 | 282.039 | 174.406 | 4.3004 | 21736.5693 | -8.6054 | -5.7337
| 18:00 |  | 18839 | 192 |  | 18412 | 200 |  | 17307 | 231 |  | 17706 | 203 | 1.3e-05 | 299 | 38a12 | 43d6d | 2852b | b2e | ab8 | c2e | 1.1925 | 1.0196 | 1.5675 | 236.0183 | 269.0497 | 159.464 | 231.954 | 277.869 | 165.163 | 4.0643 | 20619.1345 | -8.8193 | -5.699
| 18:10 |  | 18220 | 192 |  | 17803 | 219 |  | 16674 | 195 |  | 17371 | 217 | 1.3e-05 | 299 | 36cb5 | 42d87 | 26954 | b4c | acb | c44 | 1.2365 | 1.0475 | 1.5998 | 228.3008 | 264.7865 | 152.3291 | 224.437 | 273.799 | 158.036 | 3.8638 | 19497.2222 | -9.0125 | -5.7069
Vacuum pump off | 18:20 |  | 17666 | 185 |  | 17252 | 211 |  | 16050 | 193 |  | 16791 | 212 | 1.6e-05 | 299 | 3527f | 41c9a | 251d8 | b66 | adf | c56 | 1.2746 | 1.0768 | 1.6261 | 221.4186 | 260.1951 | 146.3957 | 217.727 | 269.466 | 152.024 | 3.6916 | 18495.7548 | -9.2709 | -5.6283
| 18:30 |  | 17182 | 217 |  | 16694 | 220 |  | 15561 | 215 |  | 16251 | 211 | 4.2e-05 | 299 | 33aba | 40aea | 23e0f | b7d | af3 | c65 | 1.3082 | 1.1061 | 1.6481 | 215.1806 | 255.4972 | 141.3853 | 211.642 | 264.938 | 146.959 | 3.5386 | 17587.5685 | -9.4408 | -5.5737
| 18:40 |  | 16720 | 208 |  | 16236 | 231 |  | 15080 | 220 |  | 15826 | 206 | 6.7e-05 | 299 | 3242f | 3f9ae | 2323e | b92 | b06 | c6e | 1.339 | 1.1339 | 1.6613 | 209.362 | 250.9356 | 138.3503 | 205.871 | 260.526 | 143.934 | 3.491 | 16726.2467 | -9.5904 | -5.5837
| 18:51 |  | 16299 | 210 |  | 15797 | 221 |  | 14654 | 210 |  | 15332 | 209 | 8.5e-05 | 299 | 3119e | 3ea40 | 2323e | ba3 | b17 | c6e | 1.3639 | 1.1588 | 1.6613 | 204.5657 | 246.7728 | 138.3503 | 201.118 | 256.576 | 143.934 | 3.4477 | 16016.8615 | -9.8032 | -5.5837
Fifth LN2 fill (was dry !) | 19:01 |  | 15979 | 195 |  | 15424 | 213 |  | 14331 | 221 |  | 15042 | 214 | 7.9e-05 | 299 | 30223 | 3db24 | 23f6b | bb1 | b27 | c64 | 1.3844 | 1.1823 | 1.6467 | 200.5582 | 242.7846 | 141.7212 | 197.155 | 252.708 | 147.307 | 3.4032 | 15425.3838 | -9.9234 | -5.5858
| 19:11 |  | 15691 | 207 |  | 15232 | 217 |  | 14089 | 226 |  | 14903 | 209 | 7.3e-05 | 299 | 2f07f | 3c7be | 22230 | bc1 | b3b | c7a | 1.4079 | 1.2116 | 1.6789 | 195.9142 | 237.7035 | 134.2701 | 192.639 | 247.742 | 139.824 | 3.2752 | 14751.3708 | -10.0385 | -5.5539
| 19:21 |  | 15404 | 204 |  | 14997 | 220 |  | 13828 | 240 |  | 14604 | 222 | 7e-05 | 299 | 2de2c | 3b4e3 | 206be | bd1 | b4e | c8e | 1.4313 | 1.2394 | 1.7082 | 191.2021 | 232.7778 | 127.3846 | 187.948 | 242.915 | 132.798 | 3.2541 | 14051.239 | -10.1372 | -5.4134
| 19:31 |  | 15179 | 207 |  | 14782 | 226 |  | 13595 | 241 |  | 14426 | 211 | 6.8e-05 | 299 | 2ccbe | 3a1f3 | 1f364 | be0 | b61 | c9c | 1.4533 | 1.2672 | 1.7287 | 186.7226 | 227.7561 | 122.5015 | 183.486 | 238.067 | 127.844 | 3.2366 | 13385.2855 | -10.3109 | -5.3425
| 19:41 |  | 15007 | 199 |  | 14522 | 226 |  | 13379 | 197 |  | 14203 | 203 | 6.5e-05 | 299 | 2bc43 | 38f4f | 1e420 | bee | b73 | ca7 | 1.4738 | 1.2936 | 1.7448 | 182.4877 | 222.9101 | 118.6281 | 179.267 | 233.295 | 123.936 | 3.2207 | 12755.5997 | -10.3849 | -5.3079
| 19:51 |  | 14763 | 230 |  | 14298 | 224 |  | 13132 | 208 |  | 14048 | 234 | 6.3e-05 | 299 | 2ab8c | 37c48 | 1d722 | bfc | b85 | cb0 | 1.4943 | 1.32 | 1.758 | 178.2007 | 217.9778 | 115.435 | 174.988 | 228.424 | 120.61 | 3.2127 | 12116.959 | -10.4462 | -5.175
CCC turned on (200psi static) | 20:01 |  | 14594 | 210 |  | 14116 | 217 |  | 12886 | 202 |  | 13871 | 222 | 6.2e-05 | 299 | 29bda | 3693d | 1cbfe | c09 | b97 | cb8 | 1.5133 | 1.3463 | 1.7697 | 174.1732 | 212.9593 | 112.5786 | 170.97 | 223.549 | 117.758 | 3.2032 | 11517.2725 | -10.5897 | -5.1794
| 20:12 |  | 14375 | 207 |  | 13845 | 225 |  | 12631 | 245 |  | 13612 | 230 | 6.7e-05 | 299 | 28bf5 | 345df | 1c1c0 | c16 | bb7 | cbf | 1.5324 | 1.3932 | 1.78 | 170.1007 | 203.8246 | 110.0653 | 166.901 | 214.495 | 115.136 | 3.1997 | 10909.9742 | -10.6704 | -5.0707
| 20:22 |  | 14247 | 222 |  | 13575 | 212 |  | 12400 | 210 |  | 13386 | 231 | 7e-05 | 299 | 27b71 | 2f211 | 1b96b | c23 | bff | cc5 | 1.5514 | 1.4987 | 1.7888 | 165.9832 | 182.2752 | 107.9007 | 162.673 | 193.041 | 113.003 | 3.3102 | 10278.9453 | -10.7658 | -5.1023
Note .. Detector dark curr brk point | 20:32 |  | 14123 | 210 |  | 13463 | 233 |  | 12210 | 196 |  | 13262 | 216 | 6.9e-05 | 299 | 26dbb | 2b09c | 1b209 | c2e | c34 | cca | 1.5675 | 1.5763 | 1.7961 | 162.464 | 165.5309 | 106.0895 | 159.163 | 176.284 | 111.113 | 3.301 | 9755.0778 | -10.7531 | -5.0235
Sixth LN2 fill | 20:42 |  | 13936 | 231 |  | 13266 | 227 |  | 12078 | 226 |  | 13006 | 232 | 6.3e-05 | 299 | 25fe1 | 27baa | 1ac1b | c39 | c5d | cce | 1.5837 | 1.6364 | 1.8019 | 158.9127 | 152.065 | 104.6358 | 155.617 | 162.73 | 109.595 | 3.2957 | 9225.8373 | -10.665 | -4.9592
| 20:52 |  | 13869 | 206 |  | 13185 | 227 |  | 11910 | 222 |  | 13015 | 221 | 6e-05 | 229 | 251e4 | 245ad | 19f30 | c44 | c85 | cd7 | 1.5998 | 1.695 | 1.8151 | 155.3291 | 138.4963 | 101.3493 | 152.036 | 148.909 | 106.288 | 3.2931 |  | -10.4127 | -4.9387
| 21:02 |  | 13819 | 218 |  | 13128 | 221 |  | 11810 | 221 |  | 12912 | 236 | 5.7e-05 | 229 | 243c2 | 20b5d | 196b1 | c4f | caf | cdd | 1.6159 | 1.7565 | 1.8239 | 151.7134 | 123.7909 | 99.1463 | 148.418 | 133.981 | 104.113 | 3.2954 |  | -10.1901 | -4.9667
| 21:12 |  | 13768 | 238 |  | 13126 | 251 |  | 11082 | 415 |  | 12801 | 233 | 5.3e-05 | 229 | 23662 | 1cd7a | 18da7 | c59 | cda | ce3 | 1.6305 | 1.8195 | 1.8327 | 148.3984 | 108.249 | 96.9338 | 144.994 | 118.138 | 101.799 | 3.4044 |  | -9.889 | -4.8652
| 21:23 |  | 13680 | 232 |  | 12302 | 390 |  | 7703 | 875 |  | 11692 | 474 | 5.1e-05 | 229 | 22956 | 18a4d | 18616 | c63 | d07 | ce8 | 1.6452 | 1.8855 | 1.84 | 145.0568 | 91.4573 | 95.0827 | 141.654 | 100.941 | 99.862 | 3.4028 |  | -9.4837 | -4.7793
adjusted offset voltages | 21:33 | 2.25 | 33206 | 491 | 2.312 | 30247 | 605 | 2.468 | 25961 | 1027 | 2.568 | 29843 | 857 | 4.4e-05 | 229 | 21d8a | 143a9 | 18084 | c6c | d35 | cec | 1.6584 | 1.9528 | 1.8459 | 142.0266 | 73.7355 | 93.597 | 138.634 | 82.857 | 98.436 | 3.3926 |  | -9.1215 | -4.839
| 21:43 | 19526 | 31939 | 621 | 17945 | 28490 | 822 | 18258 | 24444 | 1345 | 18151 | 28666 | 920 | 2.9e-05 | 229 | 21131 | fa00 | 178e6 | c75 | d63 | cf1 | 1.6716 | 2.0202 | 1.8532 | 138.9748 | 55.4505 | 91.7339 | 135.473 | 64 | 96.486 | 3.5018 |  | -8.5495 | -4.7521
| 21:53 |  | 30885 | 749 |  | 27674 | 764 |  | 23597 | 910 |  | 28590 | 838 | 1.9e-05 | 229 | 20535 | b66d | 172c7 | c7e | d8c | cf5 | 1.6847 | 2.0803 | 1.8591 | 135.9015 | 38.6783 | 90.2387 | 132.405 | 46.701 | 94.919 | 3.4965 |  | -8.0227 | -4.6803
| 22:03 |  | 28851 | 901 |  | 25497 | 877 |  | 21099 | 1034 |  | 25715 | 972 | 1.9e-05 | 229 | 1f8a9 | 871c | 16d27 | c87 | da8 | cf9 | 1.6979 | 2.1213 | 1.8649 | 132.8067 | 26.9671 | 88.7391 | 129.193 | 34.588 | 93.479 | 3.6137 |  | -7.6209 | -4.7399
| 22:13 |  | 27612 | 564 |  | 25027 | 603 |  | 20659 | 786 |  | 24608 | 592 | 1.9e-05 | 229 | 1ede6 | 7465 | 1688a | c8f | db3 | cfc | 1.7097 | 2.1374 | 1.8693 | 130.0376 | 22.3092 | 87.6117 | 126.438 | 29.797 | 92.298 | 3.5996 |  | -7.4878 | -4.6863
| 22:23 |  | 27215 | 573 |  | 24324 | 1160 |  | 20510 | 1388 |  | 24564 | 1174 | 2e-05 | 229 | 1e47a | 6f1b | 163e9 | c96 | db6 | cff | 1.7199 | 2.1418 | 1.8737 | 127.6006 | 21.0332 | 86.4819 | 124.026 | 28.443 | 91.113 | 3.5746 |  | -7.4098 | -4.6311
| 22:33 |  | 26992 | 555 |  | 24358 | 590 |  | 19900 | 898 |  | 23916 | 602 | 2e-05 | 229 | 1d91a | 6d57 | 15f46 | c9e | db7 | d02 | 1.7316 | 2.1433 | 1.8781 | 124.7996 | 20.6074 | 85.3497 | 121.114 | 27.991 | 89.926 | 3.6856 |  | -7.3836 | -4.5763
Seventh LN2 fill | 22:44 |  | 26288 | 558 |  | 23390 | 724 |  | 18812 | 477 |  | 23239 | 529 | 1.7e-05 | 229 | 1c8f8 | 6d57 | 15c2d | ca5 | db7 | d04 | 1.7419 | 2.1433 | 1.8811 | 122.3347 | 20.6074 | 84.5935 | 116.984 | 27.991 | 89.133 | 5.3507 |  | -7.3836 | -4.5395
Moved filter wheel 1 !! | 22:54 |  | 26700 | 800 |  | 23775 | 524 |  | 23036 | 1146 |  | 19826 | 510 | 2e-05 | 229 | 1c298 | 6809 | 1567c | cae | dba | d08 | 1.7551 | 2.1477 | 1.8869 | 119.1465 | 19.3283 | 83.078 | 115.352 | 26.633 | 87.676 | 3.7945 |  | -7.3047 | -4.598
| 23:04 |  | 26100 | 556 |  | 22712 | 615 |  | 19227 | 1398 |  | 23004 | 511 | 2.1e-05 | 299 | 1bd48 | 6809 | 1567c | cb2 | dba | d08 | 1.7609 | 2.1477 | 1.8869 | 117.7225 | 19.3283 | 83.078 | 113.992 | 26.633 | 87.676 | 3.7305 |  | -7.3047 | -4.598
blank filter wheel 2 | 23:14 |  | 4259 | 376 |  | 2834 | 784 |  | 1374 | 283 |  | 2676 | 410 | 2.1e-05 | 298 | 1b48e | 6809 | 1535f | cb8 | dba | d0a | 1.7697 | 2.1477 | 1.8899 | 115.5786 | 19.3283 | 82.3187 | 111.758 | 26.633 | 86.879 | 3.8206 |  | -7.3047 | -4.5603
| 23:24 |  | 4107 | 269 |  | 2751 | 438 |  | 1256 | 1214 |  | 2829 | 2133 | 2.2e-05 | 298 | 1abc8 | 6809 | 151d0 | cbe | dba | d08 | 1.7785 | 2.1477 | 1.8869 | 113.4252 | 19.3283 | 83.078 | 109.512 | 26.633 | 86.48 | 3.9132 |  | -7.3047 | -3.402
| 23:34 |  | 3874 | 258 |  | 2467 | 258 |  | 1180 | 1282 |  | 2290 | 262 | 2.2e-05 | 298 | 1a4ee | 6809 | 15041 | cc3 | dba | d0c | 1.7858 | 2.1477 | 1.8928 | 111.6233 | 19.3283 | 81.5583 | 107.758 | 26.633 | 86.081 | 3.8653 |  | -7.3047 | -4.5227
| 23:44 |  | 3537 | 333 |  | 2211 | 405 |  | 1040 | 2307 |  | 2621 | 2976 | 2.2e-05 | 298 | 19d8e | 6809 | 14d22 | cc8 | dba | d0e | 1.7932 | 2.1477 | 1.8957 | 109.8148 | 19.3283 | 80.7968 | 105.87 | 26.633 | 85.282 | 3.9448 |  | -7.3047 | -4.4852
| 23:54 |  | 3339 | 271 |  | 2003 | 228 |  | 596 | 650 |  | 2185 | 2029 | 2.3e-05 | 298 | 19627 | 6809 | 14b92 | ccd | dba | d0f | 1.8005 | 2.1477 | 1.8972 | 107.9996 | 19.3283 | 80.4157 | 103.975 | 26.633 | 84.882 | 4.0246 |  | -7.3047 | -4.4663
| 0:05 |  | 3247 | 270 |  | 2080 | 2150 |  | 265 | 230 |  | 1661 | 301 | 2.3e-05 | 298 | 18f36 | 6809 | 14a02 | cd2 | dba | d10 | 1.8078 | 2.1477 | 1.8986 | 106.1778 | 19.3283 | 80.0343 | 102.198 | 26.633 | 84.482 | 3.9798 |  | -7.3047 | -4.4477
| 0:15 |  | 2991 | 256 |  | 1645 | 630 |  | 188 | 788 |  | 1563 | 1115 | 2.3e-05 | 298 | 1893f | 6809 | 14871 | cd6 | dba | d11 | 1.8137 | 2.1477 | 1.9001 | 104.7155 | 19.3283 | 79.6526 | 100.671 | 26.633 | 84.081 | 4.0445 |  | -7.3047 | -4.4284
| 0:25 |  | 2779 | 251 |  | 1393 | 711 |  | 33 | 82 |  | 1250 | 244 | 2.3e-05 | 298 | 18342 | 6809 | 14871 | cda | dba | d11 | 1.8195 | 2.1477 | 1.9001 | 103.249 | 19.3283 | 79.6526 | 99.138 | 26.633 | 84.081 | 4.111 |  | -7.3047 | -4.4284
| 0:35 |  | 2576 | 489 |  | 1216 | 260 |  | 139 | 1310 |  | 1224 | 458 | 2.4e-05 | 298 | 17dc0 | 6809 | 146e0 | cde | dba | d12 | 1.8254 | 2.1477 | 1.9016 | 101.7782 | 19.3283 | 79.2707 | 97.728 | 26.633 | 83.68 | 4.0502 |  | -7.3047 | -4.4093
| 0:45 |  | 2343 | 284 |  | 1025 | 311 |  | 117 | 1099 |  | 1074 | 237 | 2.4e-05 | 298 | 177b9 | 6809 | 1454f | ce2 | dba | d13 | 1.8313 | 2.1477 | 1.903 | 100.3032 | 19.3283 | 78.8885 | 96.185 | 26.633 | 83.279 | 4.1182 |  | -7.3047 | -4.3905
| 0:55 |  | 2156 | 294 |  | 841 | 243 |  | 45 | 415 |  | 877 | 1984 | 2.4e-05 | 298 | 17331 | 6809 | 1454f | ce5 | dba | d13 | 1.8356 | 2.1477 | 1.903 | 99.1941 | 19.3283 | 78.8885 | 95.025 | 26.633 | 83.279 | 4.1691 |  | -7.3047 | -4.3905
| 1:05 |  | 2026 | 241 |  | 866 | 1329 |  | 43 | 439 |  | 626 | 280 | 2.4e-05 | 298 | 16d22 | 6809 | 143bd | ce9 | dba | d14 | 1.8415 | 2.1477 | 1.9045 | 97.7117 | 19.3283 | 78.506 | 93.474 | 26.633 | 82.877 | 4.2377 |  | -7.3047 | -4.371
| 1:15 |  | 1925 | 717 |  | 614 | 649 |  | 0 | 0 |  | 554 | 271 | 2.4e-05 | 298 | 16914 | 6809 | 1422b | cec | dba | d15 | 1.8459 | 2.1477 | 1.906 | 96.597 | 19.3283 | 78.1233 | 92.436 | 26.633 | 82.475 | 4.161 |  | -7.3047 | -4.3517
| 1:26 |  | 1829 | 273 |  | 435 | 353 |  | 207 | 1870 |  | 389 | 1019 | 2.3e-05 | 298 | 16483 | 6809 | 1422b | cef | dba | d15 | 1.8503 | 2.1477 | 1.906 | 95.4799 | 19.3283 | 78.1233 | 91.267 | 26.633 | 82.475 | 4.2129 |  | -7.3047 | -4.3517
| 1:36 |  | 1704 | 454 |  | 180 | 185 |  | 0 | 0 |  | 170 | 214 | 2.4e-05 | 298 | 16176 | 6809 | 1411f | cf1 | dba | d16 | 1.8532 | 2.1477 | 1.9074 | 94.7339 | 19.3283 | 77.7403 | 90.486 | 26.633 | 82.207 | 4.2479 |  | -7.3047 | -4.4667
| 1:46 |  | 1512 | 269 |  | 113 | 253 |  | 204 | 1769 |  | 178 | 554 | 2.4e-05 | 298 | 15cdf | 6809 | 1411f | cf4 | dba | d16 | 1.8576 | 2.1477 | 1.9074 | 93.6129 | 19.3283 | 77.7403 | 89.311 | 26.633 | 82.207 | 4.3019 |  | -7.3047 | -4.4667
| 1:56 |  | 1364 | 262 |  | 67 | 224 |  | 0 | 0 |  | 464 | 2610 | 2.4e-05 | 298 | 159cf | 6809 | 1411f | cf6 | dba | d16 | 1.8605 | 2.1477 | 1.9074 | 92.8642 | 19.3283 | 77.7403 | 88.527 | 26.633 | 82.207 | 4.3372 |  | -7.3047 | -4.4667
| 2:06 |  | 1254 | 767 |  | 22 | 73 |  | 31 | 296 |  | 29 | 112 | 2.4e-05 | 298 | 156bd | 6809 | 13f87 | cf8 | dba | d17 | 1.8635 | 2.1477 | 1.9089 | 92.1144 | 19.3283 | 77.3571 | 87.741 | 26.633 | 81.799 | 4.3734 |  | -7.3047 | -4.4419
| 2:16 |  | 1148 | 753 |  | 5 | 27 |  | 2 | 28 |  | 377 | 2546 | 2.6e-05 | 298 | 1542e | 6809 | 13f8c | cfa | dba | d17 | 1.8664 | 2.1477 | 1.9089 | 91.3636 | 19.3283 | 77.3571 | 87.086 | 26.633 | 81.804 | 4.2776 |  | -7.3047 | -4.4469
| 2:26 |  | 963 | 748 |  | 182 | 1730 |  | 94 | 1008 |  | 44 | 360 | 2.3e-05 | 298 | 1511a | 6809 | 13f8c | cfc | dba | d17 | 1.8693 | 2.1477 | 1.9089 | 90.6117 | 19.3283 | 77.3571 | 86.298 | 26.633 | 81.804 | 4.3137 |  | -7.3047 | -4.4469
| 2:36 |  | 790 | 268 |  | 5 | 61 |  | 14 | 171 |  | 4 | 39 | 2.3e-05 | 298 | 14e04 | 6809 | 13df9 | cfe | dba | d18 | 1.8723 | 2.1477 | 1.9104 | 89.8588 | 19.3283 | 76.9735 | 85.508 | 26.633 | 81.401 | 4.3508 |  | -7.3047 | -4.4275
| 2:47 |  | 724 | 269 |  | 9 | 107 |  | 49 | 587 |  | 0 | 0 | 2.3e-05 | 298 | 14aee | 6809 | 13df9 | d00 | dba | d18 | 1.8752 | 2.1477 | 1.9104 | 89.1047 | 19.3283 | 76.9735 | 84.718 | 26.633 | 81.401 | 4.3867 |  | -7.3047 | -4.4275
| 2:57 |  | 548 | 667 |  | 5 | 58 |  | 7 | 86 |  | 361 | 2453 | 2.3e-05 | 298 | 14962 | 6809 | 13df9 | d01 | dba | d18 | 1.8767 | 2.1477 | 1.9104 | 88.7273 | 19.3283 | 76.9735 | 84.322 | 26.633 | 81.401 | 4.4053 |  | -7.3047 | -4.4275
| 3:07 |  | 468 | 489 |  | 5 | 61 |  | 0 | 0 |  | 51 | 573 | 2.3e-05 | 298 | 1464a | 6809 | 13c66 | d03 | dba | d19 | 1.8796 | 2.1477 | 1.9118 | 87.9717 | 19.3283 | 76.5897 | 83.53 | 26.633 | 80.998 | 4.4417 |  | -7.3047 | -4.4083
| 3:17 |  | 506 | 529 |  | 124 | 1007 |  | 0 | 0 |  | 27 | 324 | 2.3e-05 | 298 | 144bd | 6809 | 13c66 | d04 | dba | d19 | 1.8811 | 2.1477 | 1.9118 | 87.5935 | 19.3283 | 76.5897 | 83.133 | 26.633 | 80.998 | 4.4605 |  | -7.3047 | -4.4083
| 3:27 |  | 297 | 218 |  | 3 | 37 |  | 0 | 0 |  | 0 | 0 | 2.3e-05 | 298 | 14330 | 6809 | 13c66 | d05 | dba | d19 | 1.8825 | 2.1477 | 1.9118 | 87.2151 | 19.3283 | 76.5897 | 82.736 | 26.633 | 80.998 | 4.4791 |  | -7.3047 | -4.4083
| 3:37 |  | 222 | 476 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 2.3e-05 | 297 | 141a3 | 6809 | 13c66 | d06 | dba | d19 | 1.884 | 2.1477 | 1.9118 | 86.8363 | 19.3283 | 76.5897 | 82.339 | 26.633 | 80.998 | 4.4973 |  | -7.3047 | -4.4083
| 3:47 |  | 143 | 164 |  | 31 | 266 |  | 2 | 30 |  | 0 | 0 | 2.2e-05 | 297 | 14015 | 6809 | 13c66 | d07 | dba | d19 | 1.8855 | 2.1477 | 1.9118 | 86.4573 | 19.3283 | 76.5897 | 81.941 | 26.633 | 80.998 | 4.5163 |  | -7.3047 | -4.4083
Cold cicle pump shutdown | 3:58 |  | 84 | 143 |  | 34 | 315 |  | 0 | 0 |  | 0 | 0 | 0.00017 | 297 | 13d7e | 6809 | 13ad3 | d09 | dba | d1a | 1.8884 | 2.1477 | 1.9133 | 85.6985 | 19.3283 | 76.2057 | 81.278 | 26.633 | 80.595 | 4.4205 |  | -7.3047 | -4.3893
eigth LN2 fill | 4:08 |  | 99 | 143 |  | 0 | 1 |  | 30 | 371 |  | 85 | 890 | 0.00019 | 297 | 13d7e | 9479 | 13ad3 | d09 | da0 | d1a | 1.8884 | 2.1096 | 1.9133 | 85.6985 | 30.3344 | 76.2057 | 81.278 | 38.009 | 80.595 | 4.4205 |  | -7.6746 | -4.3893
| 4:18 |  | 48 | 107 |  | 0 | 0 |  | 27 | 250 |  | 5 | 62 | 0.00016 | 297 | 13bef | c01e | 13ad3 | d0a | d86 | d1a | 1.8899 | 2.0715 | 1.9133 | 85.3187 | 41.1607 | 76.2057 | 80.879 | 49.182 | 80.595 | 4.4397 |  | -8.0213 | -4.3893
| 4:28 |  | 29 | 80 |  | 0 | 0 |  | 16 | 193 |  | 0 | 0 | 0.00014 | 297 | 13bef | e322 | 13ad3 | d0a | d71 | d1a | 1.8899 | 2.0407 | 1.9133 | 85.3187 | 49.7737 | 76.2057 | 80.879 | 58.146 | 80.595 | 4.4397 |  | -8.3723 | -4.3893
| 4:38 |  | 32 | 95 |  | 17 | 210 |  | 0 | 0 |  | 9 | 115 | 0.00014 | 297 | 13a60 | fd54 | 13ad3 | d0b | d61 | d1a | 1.8913 | 2.0173 | 1.9133 | 84.9386 | 56.2572 | 76.2057 | 80.48 | 64.852 | 80.595 | 4.4586 |  | -8.5948 | -4.3893
| 4:48 |  | 34 | 99 |  | 26 | 257 |  | 0 | 0 |  | 26 | 200 | 0.00013 | 297 | 13a60 | 113ee | 13ad3 | d0b | d53 | d1a | 1.8913 | 1.9968 | 1.9133 | 84.9386 | 61.8743 | 76.2057 | 80.48 | 70.638 | 80.595 | 4.4586 |  | -8.7637 | -4.3893
| 4:58 |  | 16 | 60 |  | 133 | 1421 |  | 19 | 228 |  | 7 | 83 | 0.00012 | 297 | 138d1 | 1270b | 13ad3 | d0d | d47 | d1a | 1.8942 | 1.9792 | 1.9133 | 84.1777 | 66.6475 | 76.2057 | 80.081 | 75.531 | 80.595 | 4.0967 |  | -8.8835 | -4.3893
| 5:08 |  | 15 | 58 |  | 11 | 134 |  | 24 | 239 |  | 30 | 363 | 0.00011 | 297 | 138d1 | 136c0 | 13ad3 | d0c | d3d | d1a | 1.8928 | 1.9646 | 1.9133 | 84.5583 | 70.5959 | 76.2057 | 80.081 | 79.552 | 80.595 | 4.4773 |  | -8.9561 | -4.3893
| 5:19 |  | 10 | 60 |  | 31 | 286 |  | 0 | 0 |  | 0 | 0 | 0.00011 | 297 | 138d1 | 14545 | 13ad3 | d0c | d34 | d1a | 1.8928 | 1.9514 | 1.9133 | 84.5583 | 74.1267 | 76.2057 | 80.081 | 83.269 | 80.595 | 4.4773 |  | -9.1423 | -4.3893
| 5:29 |  | 10 | 50 |  | 0 | 0 |  | 5 | 60 |  | 0 | 0 | 0.00011 | 297 | 138d1 | 15328 | 1422b | d0c | d2b | d15 | 1.8928 | 1.9382 | 1.906 | 84.5583 | 77.6359 | 78.1233 | 80.081 | 86.824 | 82.475 | 4.4773 |  | -9.1881 | -4.3517
| 5:39 |  | 39 | 349 |  | 0 | 0 |  | 2 | 24 |  | 13 | 161 | 0.0001 | 297 | 138d1 | 15cb8 | 1422b | d0c | d25 | d15 | 1.8928 | 1.9294 | 1.906 | 84.5583 | 79.9634 | 78.1233 | 80.081 | 89.272 | 82.475 | 4.4773 |  | -9.3086 | -4.3517
| 5:49 |  | 7 | 35 |  | 0 | 0 |  | 0 | 0 |  | 4 | 43 | 9.4e-05 | 297 | 13742 | 1674a | 1422b | d0d | d1e | d15 | 1.8942 | 1.9191 | 1.906 | 84.1777 | 82.6668 | 78.1233 | 79.682 | 91.978 | 82.475 | 4.4957 |  | -9.3112 | -4.3517
| 5:59 |  | 5 | 30 |  | 35 | 309 |  | 0 | 0 |  | 23 | 282 | 8.8e-05 | 297 | 13742 | 170c1 | 1422b | d0d | d18 | d15 | 1.8942 | 1.9104 | 1.906 | 84.1777 | 84.9735 | 78.1233 | 79.682 | 94.401 | 82.475 | 4.4957 |  | -9.4275 | -4.3517
| 6:09 |  | 7 | 41 |  | 0 | 0 |  | 4 | 48 |  | 53 | 612 | 8.4e-05 | 297 | 13742 | 179a8 | 1422b | d0d | d12 | d15 | 1.8942 | 1.9016 | 1.906 | 84.1777 | 87.2707 | 78.1233 | 79.682 | 96.68 | 82.475 | 4.4957 |  | -9.4093 | -4.3517
| 6:19 |  | 6 | 39 |  | 82 | 794 |  | 0 | 0 |  | 0 | 0 | 8e-05 | 297 | 13742 | 1817a | 1422b | d0d | d0d | d15 | 1.8942 | 1.8942 | 1.906 | 84.1777 | 89.1777 | 78.1233 | 79.682 | 98.682 | 82.475 | 4.4957 |  | -9.5043 | -4.3517
| 6:29 |  | 10 | 46 |  | 0 | 0 |  | 7 | 83 |  | 0 | 0 | 7.6e-05 | 297 | 13742 | 18944 | 1422b | d0d | d08 | d15 | 1.8942 | 1.8869 | 1.906 | 84.1777 | 91.078 | 78.1233 | 79.682 | 100.676 | 82.475 | 4.4957 |  | -9.598 | -4.3517
| 6:40 |  | 31 | 318 |  | 63 | 755 |  | 0 | 0 |  | 0 | 0 | 7.3e-05 | 297 | 13742 | 18ef5 | 1422b | d0d | d04 | d15 | 1.8942 | 1.8811 | 1.906 | 84.1777 | 92.5935 | 78.1233 | 79.682 | 102.133 | 82.475 | 4.4957 |  | -9.5395 | -4.3517
| 6:50 |  | 6 | 30 |  | 0 | 0 |  | 4 | 48 |  | 0 | 0 | 7.1e-05 | 297 | 13742 | 19526 | 1422b | d0d | d00 | d15 | 1.8942 | 1.8752 | 1.906 | 84.1777 | 94.1047 | 78.1233 | 79.682 | 103.718 | 82.475 | 4.4957 |  | -9.6133 | -4.3517
| 7:00 |  | 4 | 28 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 6.9e-05 | 297 | 13742 | 19b52 | 1422b | d0d | cfc | d15 | 1.8942 | 1.8693 | 1.906 | 84.1777 | 95.6117 | 78.1233 | 79.682 | 105.298 | 82.475 | 4.4957 |  | -9.6863 | -4.3517
| 7:10 |  | 1 | 7 |  | 65 | 775 |  | 8 | 101 |  | 10 | 122 | 6.7e-05 | 297 | 13742 | 1a0f5 | 1422b | d0d | cf8 | d15 | 1.8942 | 1.8635 | 1.906 | 84.1777 | 97.1144 | 78.1233 | 79.682 | 106.741 | 82.475 | 4.4957 |  | -9.6266 | -4.3517
| 7:20 |  | 31 | 303 |  | 0 | 0 |  | 151 | 1575 |  | 0 | 0 | 6.6e-05 | 297 | 13742 | 1a58f | 1422b | d0d | cf5 | d15 | 1.8942 | 1.8591 | 1.906 | 84.1777 | 98.2387 | 78.1233 | 79.682 | 107.919 | 82.475 | 4.4957 |  | -9.6803 | -4.3517
| 7:30 |  | 1 | 9 |  | 0 | 0 |  | 23 | 209 |  | 10 | 117 | 6.5e-05 | 297 | 13742 | 1abae | 1422b | d0d | cf1 | d15 | 1.8942 | 1.8532 | 1.906 | 84.1777 | 99.7339 | 78.1233 | 79.682 | 109.486 | 82.475 | 4.4957 |  | -9.7521 | -4.3517
| 7:40 |  | 29 | 278 |  | 1 | 13 |  | 0 | 0 |  | 6 | 75 | 6.4e-05 | 297 | 13742 | 1b041 | 1422b | d0d | cee | d15 | 1.8942 | 1.8488 | 1.906 | 84.1777 | 100.8526 | 78.1233 | 79.682 | 110.657 | 82.475 | 4.4957 |  | -9.8044 | -4.3517
| 7:51 |  | 3 | 22 |  | 0 | 0 |  | 13 | 157 |  | 10 | 125 | 6.4e-05 | 297 | 13742 | 1b4d1 | 1422b | d0d | ceb | d15 | 1.8942 | 1.8444 | 1.906 | 84.1777 | 101.9688 | 78.1233 | 79.682 | 111.825 | 82.475 | 4.4957 |  | -9.8562 | -4.3517
| 8:01 |  | 37 | 298 |  | 0 | 0 |  | 19 | 233 |  | 0 | 0 | 6.3e-05 | 297 | 13742 | 1b75a | 1422b | d0d | ce9 | d15 | 1.8942 | 1.8415 | 1.906 | 84.1777 | 102.7117 | 78.1233 | 79.682 | 112.474 | 82.475 | 4.4957 |  | -9.7623 | -4.3517
| 8:11 |  | 5 | 29 |  | 0 | 0 |  | 14 | 170 |  | 0 | 0 | 6.3e-05 | 297 | 13742 | 1bbe6 | 1422b | d0d | ce6 | d15 | 1.8942 | 1.8371 | 1.906 | 84.1777 | 103.8239 | 78.1233 | 79.682 | 113.638 | 82.475 | 4.4957 |  | -9.8141 | -4.3517
| 8:21 |  | 6 | 37 |  | 1 | 10 |  | 24 | 208 |  | 7 | 80 | 6.2e-05 | 297 | 13742 | 1beec | 1422b | d0d | ce4 | d15 | 1.8942 | 1.8342 | 1.906 | 84.1777 | 104.5641 | 78.1233 | 79.682 | 114.412 | 82.475 | 4.4957 |  | -9.8479 | -4.3517
Cold cycle pump re-start | 8:31 |  | 2 | 10 |  | 21 | 217 |  | 0 | 0 |  | 10 | 122 | 6.2e-05 | 297 | 13742 | 1c1f1 | 1422b | d0d | ce2 | d15 | 1.8942 | 1.8313 | 1.906 | 84.1777 | 105.3032 | 78.1233 | 79.682 | 115.185 | 82.475 | 4.4957 |  | -9.8818 | -4.3517
| 8:41 |  | 4811 | 204 |  | 0 | 0 |  | 28 | 338 |  | 42 | 510 | 5.9e-05 | 297 | 13742 | 1aba1 | 1442b | d0d | cf1 | d15 | 1.8942 | 1.8532 | 1.906 | 84.1777 | 99.7339 | 78.1233 | 79.682 | 109.473 | 82.987 | 4.4957 |  | -9.7391 | -4.8637
Voltage offsets updated | 8:51 | 2.35 | 4859 | 230 | 1.912 | 3377 | 995 | 2.568 | 1896 | 295 | 2.668 | 3545 | 273 | 4.9e-05 | 297 | 138d1 | 165b5 | 1454f | d0c | d1f | d13 | 1.8928 | 1.9206 | 1.903 | 84.5583 | 82.2814 | 78.8885 | 80.081 | 91.573 | 83.279 | 4.4773 |  | -9.2916 | -4.3905
| 9:01 |  | 4837 | 617 |  | 3340 | 251 |  | 1900 | 373 |  | 3545 | 236 | 3.6e-05 | 297 | 138d1 | 118dc | 143db | d0c | d50 | d14 | 1.8928 | 1.9924 | 1.9045 | 84.5583 | 63.0712 | 78.506 | 80.081 | 71.9 | 82.907 | 4.4773 |  | -8.8288 | -4.401
Vac pump connected | 9:12 |  | 4798 | 276 |  | 3300 | 505 |  | 1923 | 331 |  | 3651 | 1033 | 1.4e-05 | 297 | 13742 | cc0a | 1422b | d0d | d7f | d15 | 1.8942 | 2.0613 | 1.906 | 84.1777 | 44.0448 | 78.1233 | 79.682 | 52.234 | 82.475 | 4.4957 |  | -8.1892 | -4.3517
| 9:22 |  | 4318 | 269 |  | 3318 | 261 |  | 1799 | 253 |  | 3677 | 1267 | 1.3e-05 | 297 | 13742 | 8e17 | 1411f | d0d | da4 | d16 | 1.8942 | 2.1155 | 1.9074 | 84.1777 | 28.6529 | 77.7403 | 79.682 | 36.375 | 82.207 | 4.4957 |  | -7.7221 | -4.4667
| 9:32 |  | 4741 | 285 |  | 3225 | 340 |  | 1798 | 356 |  | 3544 | 2059 | 1.3e-05 | 298 | 13742 | 72a2 | 13f8c | d0d | db4 | d17 | 1.8942 | 2.1389 | 1.9089 | 84.1777 | 21.8841 | 77.3571 | 79.682 | 29.346 | 81.804 | 4.4957 |  | -7.4619 | -4.4469
| 9:42 |  | 4781 | 261 |  | 3261 | 332 |  | 1854 | 390 |  | 3466 | 262 | 1.4e-05 | 298 | 135b2 | 6b93 | 13df9 | d0e | db8 | d17 | 1.8957 | 2.1448 | 1.9089 | 83.7968 | 20.1813 | 77.3571 | 79.282 | 27.539 | 81.401 | 4.5148 |  | -7.3577 | -4.0439
| 9:52 |  | 4749 | 263 |  | 3274 | 499 |  | 1697 | 250 |  | 3445 | 282 | 1.4e-05 | 298 | 135b2 | 69ce | 13c66 | d0e | db9 | d19 | 1.8957 | 2.1462 | 1.9118 | 83.7968 | 19.7549 | 76.5897 | 79.282 | 27.086 | 80.998 | 4.5148 |  | -7.3311 | -4.4083
| 10:02 |  | 4693 | 257 |  | 3204 | 269 |  | 1751 | 382 |  | 3695 | 255 | 1.5e-05 | 299 | 13292 | 6644 | 13ad3 | d10 | dbb | d1a | 1.8986 | 2.1492 | 1.9133 | 83.0343 | 18.9014 | 76.2057 | 78.482 | 26.18 | 80.595 | 4.5523 |  | -7.2786 | -4.3893
| 10:12 |  | 4600 | 243 |  | 3100 | 245 |  | 1671 | 335 |  | 3402 | 256 | 1.5e-05 | 299 | 13292 | 647f | 13ad3 | d10 | dbc | d1a | 1.8986 | 2.1506 | 1.9133 | 83.0343 | 18.4742 | 76.2057 | 78.482 | 25.727 | 80.595 | 4.5523 |  | -7.2528 | -4.3893
| 10:22 |  | 4639 | 263 |  | 3114 | 252 |  | 1649 | 289 |  | 3343 | 284 | 1.6e-05 | 299 | 13292 | 647f | 13ad3 | d10 | dbc | d1a | 1.8986 | 2.1506 | 1.9133 | 83.0343 | 18.4742 | 76.2057 | 78.482 | 25.727 | 80.595 | 4.5523 |  | -7.2528 | -4.3893
Ninth LN2 fill | 10:33 |  | 4565 | 233 |  | 3087 | 295 |  | 1735 | 951 |  | 3378 | 1669 | 1.6e-05 | 299 | 13292 | 647f | 1393f | d10 | dbc | d1b | 1.8986 | 2.1506 | 1.9148 | 83.0343 | 18.4742 | 75.8213 | 78.482 | 25.727 | 80.191 | 4.5523 |  | -7.2528 | -4.3697
| 10:43 |  | 4571 | 227 |  | 3023 | 268 |  | 1752 | 957 |  | 3329 | 257 | 1.6e-05 | 299 | 13101 | 647f | 1393f | d11 | dbc | d1b | 1.9001 | 2.1506 | 1.9148 | 82.6526 | 18.4742 | 75.8213 | 78.081 | 25.727 | 80.191 | 4.5716 |  | -7.2528 | -4.3697
| 10:53 |  | 4451 | 587 |  | 3002 | 289 |  | 1568 | 287 |  | 3293 | 2620 | 1.7e-05 | 299 | 13101 | 647f | 137ab | d11 | dbc | d1c | 1.9001 | 2.1506 | 1.9162 | 82.6526 | 18.4742 | 75.4368 | 78.081 | 25.727 | 79.787 |  |  | -7.2528 | -4.3502
| 11:03 |  | 4479 | 551 |  | 2980 | 267 |  | 1506 | 315 |  | 3304 | 584 | 1.8e-05 | 299 | 12f70 | 64ff | 137ab | d12 | dbc | d1c | 1.9016 | 2.1506 | 1.9162 | 82.2707 | 18.4742 | 75.4368 | 77.68 | 25.855 | 79.787 |  |  | -7.3808 | -4.3502
[22 empty] | -3.0003 | -3.0003 | -3.0003 | -129.111 | -124.111 | -132.111 | 0 | 0 | 0