From rgmr@ing.iac.esWed Feb 12 16:46:52 1997

Date: Wed, 12 Feb 1997 16:13:51 +0000 (GMT)

From: Rene Rutten <rgmr@ing.iac.es>

To: Peter Moore <pcm@ing.iac.es>

Subject: more on CCD TVs

And here is a further thing on preliminary tests I did to compare the

ISEC TV with CCD images. These tests were confirmed last summer by work a

student and I did.

R.

---------------------------------------------------------------------

Hi Paul,

Let me give you some more details of what I did to compare

TV images with CCD images. The comparison between our current

TV system and CCD images was indeed with images stored from

the ISEC system, and images from TEK1 at AUX port in standard

readout mode (i.e. noise ~4 ADU). The seeing was pretty bad.

I looked at a Landold field from which two standard stars

fitted on the TV and CCD field of view (using TVscale 5).

The stars had the following magnitudes:

star        V        B

98-624    13.8     14.6

98-626    14.8     16.2

The gain on the TV was turned up all the way. The TV was used

without a filter. The TEK AUX port images were taken in the V

and B band. The stored digitized TV images cover a range of

integration times from 1 frame (40 ms) to 64 frames (2.5 sec).

Integrating any further was not worth it because of the quick

saturation of the TV images. To give you an idea of how poor the

dynamic range of the TV is: the 'bias' level is about 52 TV-ADUs,

while the image saturates at about 120 TV-ADUs !

TEK images were 10 and 100 seconds, so I had to extrapolate

the results for the TV images to match the exposure time of the

TEK images.

Since I don't know what the 'gain' of the ISEC-TV is, I took the

very simple-minded approach for the S/N calculation. For both the

ISEC-TV and the CCD images the noise in the backgroud determines

the S/N in these cases. I determined the counts (and variance) on

a number of apertures on the stars and sky. I sky-subtracted the

star counts and determined the S/N using the variance in the sky

counts. An identical calculation was done for the TEK images. For the

TEK the S/N turns out to be limited by pixel-to-pixel variations.

I did not flat-field those out (which would have boosted the S/N

for the TEK images dramatically) since I did not do that for

the TV images either.

So, having calculated the S/N on the TV and TEK images accordingly,

and extrapolating the TV results to the TEK exposure time, I get

a S/N for the TV of 35, 25 (for the two stars respectively), and

a S/N for the TEK images of 99 and 40, respectively.

Note that these numbers are probably over optimistic for the

TV since the limited pass band of the CCD is ignored, such high S/N

can never be attained on the TV in the first place given the poor

dynamic range, and that the CCD images can do much better if they

would have been flat fielded (actually, a S/N as high as ~800 could

be attained on the brighter of the two stars !).

Apart from that, the TV images look horrible, with brighter and fainter

lines mixed. I think the S/N calculation above is generous towards

the ISEC TV as it does not really take the poor image quality into

account. Then there is also a large brightness gradient accros

the TV field. I think the ISEC TV images are largely unsuitable

for much more than just viewing the sky.

An accurate comparison of the S/N between the TV and CCD systems

would require taking the band pass and different optical paths

into account more accurately than I could.

The other thing you asked is whether one can use the TEK, ISEC TV,

and CCD-autoguider on the WHT to look at the same object: yes, one

can. Maybe we need to do more test to quantify things further. I

have not looked at the autoguider images.

I'd welcome any suggestions.

Cheers,

Rene'