INGRID Cool Down Number 2: 16/11/1999

# Engineering Array & Motors Verification

Team Leader: pcm	Team members: jolley, kmd

| Discipline | Major Components Needed |
| --- | --- |
| Optics | None |
| Detector | Engineering array |
| Mechanical | INGRID but without the camera barrel |
| Cryogenics | LN2 and CCC |
| Software | ISP and EPICS control |

| Cryostat / Discipline | Optics mbrox | Detector pcm | Mechanical kmd/jolley | Cryogenics ## kmd | Software sgr |
| --- | --- | --- | --- | --- | --- |
| Pre-cooling |  | - Tests 1-3 of pcm’s test document | - (3.1) Drive all four mechanisms - Log motor profiles | - Log pressure - Log temperature | - Test mechanisms - Test ISP |
| Cooling |  | - Tests 4-7 of pcm’s test document |  | - Log pressure - Log temperature |  |
| Cold |  | - Repeat of tests 10-18 from previous cool down - Tests 8-19 of pcm’s test document | - (2.6) Drive all four mechanisms - Log motor profiles - Preliminary repeatability check | - Log pressure - Log temperature - (2.2) Check outgassing rate - (2.3) Confirm operation of CCC - (2.3) Measure hold time of the LN2 tank | - Test mechanisms - Test ISP - Acquire data |
| Warming |  | - Test 20 of pcm’s test document |  | - Log pressure - Log temperature |  |
| Post-cooling |  | - Test 21 of pcm’s test document | - (3.1) Drive all four mechanisms - Log motor profiles - Make visual inspection of worms | - Log pressure - Log temperature |  |

Schedule of Cool Down Number 2

| Day / Date | Operation | Comments |
| --- | --- | --- |
| Friday 12th | Setup and pump down of INGRID | pcm to lead |
| Friday 12th | Pre |  |
| Monday 15th | Cool down |  |
| Tuesday 16th | Cold |  |
| Saturday 20th | Warm up |  |
| Monday 22nd | Warm |  |