## Sheet1
Isaac | LIRIS INFRASTRUCTURE REQUIREMENTS
Newton
Group | Version 1.0
20th November 2001.
INSTRUMENT CONDITION | OPERATIONAL STATUS | Frequency of Operatilon | Duration of operation | Man Power Requirement | "Clean Room" Enviroment Reqd. | Dry/Warm Enviroment Reqd. | 240 vac UPS Power Available | Fiber Optics link to Control Room | Acquisition Computer Running | Instrument Control Computer Running | Liquid Nitrogen Usage | Helium Compressor Available | Helium Gas Usage
| Transport to / from Park at Telescope | once on arrival | 4 hours | 12 mh | no | yes | no | no | no | no | 0 | no | 0
| Connection of Instrument at Park | once on arrival | 1 hour | 2 mh | no | yes | yes | yes | no | yes | 0 | yes | 3.0 cu mtr
WARM | Preventive maintenance at Park | 6 months | ?? |  | yes | yes | yes | yes | yes | yes | 0 | yes | 3.0 cu mtr
| Mask and Filter Change at Park | 6 months | 3 - 5 hours | 6 - 10 mh | yes | yes | yes | yes | no | yes | 0 | yes | 0
| Vacuum Pump Instrument at Park | 6 months | 48 hours | 8 mh | no | yes | yes | yes | no | yes | 0 | yes | 0
| Cooldown Instrument at Park | 6 months | 48 hours | 8 mh | no | yes | yes | yes | no | yes | 200 ltr | yes | 1.0 cu mtr
| Testing off Telescope at Park | 1 month | ?? |  | no | yes | yes | yes | yes | yes | 0 | yes | 0.3 cu mtr
| Stand by off Telescope |  |  |  | no | yes | yes | yes | yes | yes | 0 | yes | 0.3 cu mtr
COLD | Disconnection and move to Stand by on Telescope | each inst. change | 5 hours (1) | 19 mh | no | no | no | no | no | no | 10 ltr | yes | 0
| Routine Testing on Telescope | each day | 0.5 hour | 0.5 mh | no | no | yes | yes | yes | yes | 0 | yes | 0
| Stand by on Telescope |  |  |  | no | no | yes | yes | yes | yes | 0 | yes | 0
| Operation on Telescope |  |  |  | no | no | yes | yes | yes | yes | 0 | yes | 0
| Disconnection and move to Stand by off Telescope | each inst. change | 4 hours (2) | 14 mh | no | yes | no | no | no | no | 10 ltr | yes | 0.3 cu mtr
| Instrument Warm up at Park | 6 months | 96 hours | 8 mh | no | yes | yes | yes | yes | yes | 0 | no | 0
WARM | Instrument Shut down at Park | 6 months | 3 hours | 3 mh | no | yes | yes | yes | yes | yes | 0 | no | 0
| Instrument Disconnect at Park | never | 1 hour | 1 mh | no | yes | yes | no | no | no | 0 | no | 0
Notes:
1 | Does not include dismount of original Cass instrument
2 | Does not include remount of Cass instrument or Tel balance