| Ingrid Mechanism Control Hardware Component List |  |  |  |  |
| --- | --- | --- | --- | --- |
| Component/Part no. | Qty | Supplier | Approx Unit Cost (£) | Ext’d Cost (£) |
| XVME-240 80 CHANNEL DIGITAL TTL MODULE | 1 | ACAL ELECTRONICS LTD WOKINGHAM RD BRACKNELL ,BERKS FAX 01344 424263 | 520 | 520 |
| MVM147-011 MC68030 25MHZ, 4MB RAM | 1 | GOTHIC CRELLON LTD 3 THE BUSINESS CENTRE MOLLY MILLARS LANE WOKINGHAM BERKS FAX 0118 9776095 | 1843 | 1843 |
| MVME712M TRANSITION MODULE FOR MVME147 | 1 | GOTHIC CRELLON LTD | 213 | 213 |
| SD12(400mA-2A DRIVE) | 5 | MICROMECH LTD BROOMHILLS INDUSTRIAL ESTATE,BRAINTREE,ESSEX FAX 01376 551849 | 139 | 695 |
| SR50 (5 AXIS RACK) | 1 | MICROMECH LTD | 313 | 313 |
| FP36 (FRONT PANEL) | 1 | MICROMECH LTD | 15 | 15 |
| FP39 (FRONT PANEL BLANK) | 1 | MICROMECH LTD | 15 | 15 |
| TO119 (300VA ISOLATING TRANSFORMER) | 1 | MICROMECH LTD | 101 | 101 |
| VME8 INTELLIGENT MOTOR CONTROLLER FOR VME BUS COMPUTER | 1 | NAPLES COOMBE LTD MAIN STREET CHADDLEWORTH BERKSHIRE FAX 01626 63422 | 1875 | 1875 |
| MEKTRON 4U HIGH CUSTOM VME ENCLOSURE WITH 7 SLOT J1/J2 VME BACKPLANE AND WEIR WA405 POWER SUPPLY MEKTRON MC-44V107HR-001 | 1 | MEKTRON SYSTEMS LTD, UNIT 8,BEDFORD BUSINESS CENTRE, MILE RD, BEDFORD FAX 01234 272688 | 1830 | 1830 |
| SM56.1.18J1FVZXX STEPPING MOTOR SUITABLE FOR VACUUM TO 10E-6 TORR.(UNIT SUPPLIED WITH DRY BEARINGS AND FITTED WITH A WOODRUFF KEY). | 5 | MICROMECH LTD | 298 | 1490 |