- Mechanical Work Package request

| Project code | Naomi |
| --- | --- |

To be filled in by the person requesting the work

| Date | 02/12/2007 |
| --- | --- |
| Demanding officer | Olivier Martin |
| Description work required (design/ manufacture) | Produce new flanges for the lens array, multi-diaphragm and field lens, which will allow to locate the multi-diaphragm 1 to 2 mm closer to the lens array (depending on room available). The pieces will be identical to the existing ones, except the modification for the position of the diaphragm (also called micro pupil mask, or “passoire”) drawing number; See associated pictures. |
| Date required for completion | February/March 2008 |
| Interfaces to be satisfied by completed product | The lens and lens array flanges have to fit to the OASIS Sampler Wheel (as the existing one) |
| Interfaces to be maintained during the work | Optical alignment of OASIS |
| Any constraints to be observed | If CAD files can be obtained from CRALyon, the existing lens holder shouldn’t be removed/dismounted |

| Reference no. |  |
| --- | --- |

| Joint agreement on effort/cost/time | Demanding officer |  |
| --- | --- | --- |
|  | Deputy Head of Operations |  |

- To be completed by the workshop manager

| Work package acceptance workshop manager | In order to accomplish this, suitable mechanical drawings will be required to allow a new assembly to be built. Without these drawings the lens holder cannot be re-engineered without reverse engineering the operational part. This is far too risky to consider especially since this mechanical part is required for all spectroscopic modes. Unless a new lens holder can be built without perturbing the functionality of OASIS, a different approach to this problem will need to be sought. Don Carlos Abrams (March 08) |
| --- | --- |
| Completion confirmation workshop manager |  |
| Agreed hand over work package |  |