- Mechanical Work Package request

| Project code | AF2 |
| --- | --- |
| Reference code | 025 |

To be filled in by the person requesting the work

| Title | AF2 Gripper modifications |
| --- | --- |
| Date | 20/12/2008 |
| Demanding officer | Michiel van der Hoeven |
| Description work required (design/ manufacture) | The current gripper body experiences problems when operating at low temperatures. The O-rings get stiff and thus the operation degrades resulting in failures to pick and place fibres. A short term solution was provided with a device that warms up the pneumatic air locally. Meanwhile a proper solution was engineering in an active temperature control system. With this the gripper body will be maintained at constant temperature. A second gripper body needs to be manufactured to incorporate these modifications to make it a simple swap with the existing body. drawing number; http://www.ing.iac.es/~eng/mechanical/Eng_dwgs/dwgs.htm see under gripper. |
| Date required for completion |  |
| Interfaces to be satisfied by completed product |  |
| Interfaces to be maintained during the work | Existing instrument should not be disturbed |
| Any constraints to be observed |  |

| Joint agreement on effort/cost/time | Demanding officer |  |
| --- | --- | --- |
|  | Head of Operations |  |

- To be completed by the workshop manager

| Work package acceptance workshop manager |  |
| --- | --- |
| Completion confirmation workshop manager |  |
| Agreed hand over work package |  |