- Mechanical Work Package request

| Project code | ACAM |
| --- | --- |
| Reference code | 027 |

To be filled in by the person requesting the work

| Title | ACAM modifications |
| --- | --- |
| Date | 09/10/2009 |
| Demanding officer | Chris Benn |
| Description work required (design/ manufacture) | The annular grey spacers have inner and outer radii ~ 50 and 76 mm, so when used with 76-mm filters, a lot of plastic is in contact with the surface of the filter (and apparently leaves a mark). The spacers could be reshaped so that only a narrow outer annulus (lip) is in contact with the filter. Also, if these spacers are used in filter wheel 1, they are vignetting the beam (it is slightly broader than at filter wheel 2) - holes of diameter ~ 60 mm would be better. Provide 6 new spacers of this type. Provide 4 more adaptors for 50-mm square filters are needed, although the exact diameter needs to reflect the measured sizes of these filters (probably <= 51 mm). Some of the bolts holding the filter mounts in the wheel are damaged, and no longer grip securely the head of an Allen key (e.g. wheel 1 position 5, bolt nearest the axis of the wheel). Check wheels, screws and bolts. drawing number; n/a. |
| Date required for completion | 31/12/2010 |
| Interfaces to be satisfied by completed product |  |
| Interfaces to be maintained during the work |  |
| Any constraints to be observed |  |

| Joint agreement on effort/cost/time | Demanding officer |  |
| --- | --- | --- |
|  | Head of Operations |  |

- To be completed by the workshop manager

| Work package acceptance workshop manager |  |
| --- | --- |
| Completion confirmation workshop manager |  |
| Agreed hand over work package |  |