- Mechanical Work Package request

| Project code | Ops |
| --- | --- |
| Reference code | 031 |

To be filled in by the person requesting the work

| Title | WHT roof repair |
| --- | --- |
| Date | 15/11/2009 |
| Demanding officer | Jürg Rey |
| Description work required (design/ manufacture) | Last winter water filtered into the WHT building through the roof next to top stairwell and lift machine room. This should be addressed this summer. Should it get worse next winter it could affect the electrical installation in this area. drawing number; n/a. |
| Date required for completion | 31/12/2009 |
| Interfaces to be satisfied by completed product |  |
| Interfaces to be maintained during the work |  |
| Any constraints to be observed |  |

| Joint agreement on effort/cost/time | Demanding officer |  |
| --- | --- | --- |
|  | Head of Operations |  |

- To be completed by the workshop manager

| Work package acceptance workshop manager |  |
| --- | --- |
| Completion confirmation workshop manager |  |
| Agreed hand over work package |  |